# CPCSFS5010 Provide documentation and support for fabrication of fire sprinkler systems

Release: 1

CPCSFS5010 Provide documentation and support for fabrication of fire sprinkler systems

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCSFS5010A Provide documentation and support for fabrication of fire sprinkler systems. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Application

This unit of competency specifies the outcomes required to assess issues relating to on-site installation of pipework for sprinkler systems. The unit also involves producing specifications and supporting documentation for the cost-effective fabrication of manageable pipework sections.

This unit of competency supports the role of fire systems designers with responsibility for creating specifications and drawings for the fabrication of pipework sections for fire sprinkler systems.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing and Fire Services

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Determine the impact on fabrication plans of installation risks and constraints. | 1.1 | Identify on-site work health and safety (WHS) risks relating to the installation of sprinkler systems. |
|  |  | 1.2 | Identify constraints relating to access to on-site installation locations for sprinkler system pipes and components. |
|  |  | 1.3 | Consider impact of installation risks and constraints on fabrication plans for fire sprinkler system pipes and components and determine cost-effective and manageable solutions. |
| 2 | Plan and specify pipes, fittings and components. | 2.1 | Obtain and analyse current accurate drawings and documentation, and take measurements on-site during construction if possible, to confirm the accuracy of building dimensions. |
|  |  | 2.2 | Check and confirm the dimensions and design drawing locations of the selected fittings and components. |
|  |  | 2.3 | Plan and specify fittings and components for ease and safety of installation and to provide cost-effective solutions. |
|  |  | 2.4 | Calculate, specify and number pipe lengths on relevant drawings. |
|  |  | 2.5 | Review and apply efficiency and cost effectiveness of relevant pipe materials, pipe fitting methodologies for design. |
| 3 | Produce fabrication documentation. | 3.1 | Confirm and specify appropriate pipe materials and features. |
|  |  | 3.2 | Consult supplier as necessary to discuss and negotiate efficient and cost-effective pipe fabrication options. |
|  |  | 3.3 | Number and detail individual pipe specifications on fabrication lists. |
|  |  | 3.4 | Supply drawings to support fabrication specifications, as required. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCSFS5010A Provide documentation and support for fabrication of fire sprinkler systems.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCSFS5010 Provide documentation and support for fabrication of fire sprinkler systems

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCSFS5010A Provide documentation and support for fabrication of fire sprinkler systems. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

producing pipe fabrication documentation for fire sprinkler system design projects for four types of buildings including a:

commercial building

factory

residential nursing home

high-rise building.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

workplace design tools and processes

level of accuracy required in detailed design drawings

naming conventions for design drawings and drawing register

relevant current legislation, codes and standards:

building Acts

building regulations

infrastructure supply regulations

the Building Code of Australia (BCA)

National Construction Code (NCC)

Australian standards for fire systems

international standards for fire systems

jurisdictional authorities in addition to the BCA and NCC

other fire system standards commonly required by building insurers

protection requirements for different buildings, including:

low-rise buildings

processing building applications

warehouse buildings under 13.7 m high

warehouse buildings over 13.7 m high

medium-rise buildings

high-rise buildings (over 25 metres)

buildings over 50 metres in height

fire systems’ technology and components, including water-based systems:

wet pipe sprinkler systems

deluge and drencher systems

dry pipe sprinkler systems

pre-action sprinkler systems

early suppression fast response (ESFR)

gaseous suppression systems

water spray systems

water mist systems

wet chemical suppression systems

foam suppression systems

hangers

sprinkler heads

nozzles

elbows

tees

pumps

tanks

purpose and operation of fire systems:

layout

location:

ceiling space

roof space

under-floor

under-soffit

special products and hazards

system operation:

deluge and drencher systems

dry pipe sprinkler systems

pre-action sprinkler systems

ESFR

gaseous suppression systems

water spray systems

water mist systems

foam suppression systems

performance requirements and technical issues impacting on fire sprinkler systems designs

maintenance standards

system activation:

deluge and drencher systems

dry pipe sprinkler systems

pre-action sprinkler systems

ESFR

gaseous suppression systems

water spray systems

water mist systems

foam suppression systems

characteristics and limitations of products and materials used in fire systems and issues relating to material compatibility

installation risks and constraints impacting on pipe fabrication specifications for fire sprinkler systems

construction industry terminology

roles and responsibilities of relevant building project personnel:

architect

lead contractor

structural engineer

mechanical engineer

hydraulic engineer

electrical engineer

civil engineer

fire engineer

building (private) certifier or surveyor

on-site issues that can arise during the construction phase and impose changes to the designs of fire systems and other services:

risks:

manual handling

confined spaces

working at height

installation methods:

access requirements:

height of pipe

length of pipe

weight of pipe and materials

distance from beams

distance from walls

work health and safety (WHS) requirements

water supplies:

common water sources

conservation requirements

in-ground reticulation

booster configurations

fluid mechanics and hydraulics relating to pipe range

sustainability requirements and ratings:

energy conservation

water conservation

pipe fabrication methods and constraints

pipe specifications:

length

dimension

pap size

material:

black steel

galvanised

hot dip galvanised

high density polyethylene (HPDE)

chlorinated polyvinyl chloride (CPVC)

pipe connection specifications:

flange

roll grooved

threaded

compression

fusion welded

chemical (glue)

valve specifications:

sluice

gate

butterfly

globe

ball

solenoid

diaphragm

pressure reducing

flow restricting

3-way

mathematic principles, equations and calculation methods:

financial calculations, for example to assess cost-effectiveness of fire systems

codes, standards, legislation and regulatory requirements

access to manufacturer’s information.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad