# Assessment Requirements for CPCSFS5011 Provide design documentation and review and support fire system installation processes

Release: 1

Assessment Requirements for CPCSFS5011 Provide design documentation and review and support fire system installation processes

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCSFS5011A Provide design documentation and review and support fire system installation processes. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

preparing accurate documentation and provision of ongoing support for the installation of fire systems in four projects and buildings, including for a:

commercial building

factory

residential nursing home

high-rise building.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

reading and interpreting drawings, plans, reports and specifications

file sharing and storage processes

communication processes

workplace design tools and processes

level of accuracy required in detailed design drawings

naming conventions for design drawings and drawing register

computer software functions and operation:

word processing

spreadsheet

email

internet

proprietary project management software

relevant current legislation, codes and standards:

building Acts

building regulations

infrastructure supply regulations

the Building Code of Australia (BCA)

National Construction Code (NCC)

Australian standards for fire systems

international standards for fire systems

jurisdictional authorities in addition to the BCA and NCC

other fire system standards commonly required by building insurers

protection requirements for different buildings, including:

low-rise buildings

processing building applications

warehouse buildings under 13.7 m high

warehouse buildings over 13.7 m high

medium-rise buildings

high-rise buildings (over 25 metres)

buildings over 50 metres in height

fire systems’ technology and components:

water-based systems:

wet pipe sprinkler systems

deluge and drencher systems

dry pipe sprinkler systems

pre-action sprinkler systems

early suppression fast response (ESFR)

gaseous suppression systems

water spray systems

water mist systems

wet chemical suppression systems

foam suppression systems

hydrants, hose reels and monitors

water supply tanks

fire pump sets

detection and warning systems:

occupant warning systems

emergency warning and intercommunications systems (EWIS)

fire detection and alarm systems

smoke control systems

emergency lighting systems

purpose and operation of fire systems:

layout

special products and hazards

system operation

performance requirements

maintenance standards

system activation and operation

characteristics and limitations of products and materials used in fire systems and issues relating to material compatibility

passive fire safety elements:

identification of passive elements

impact of fire systems design on passive elements

specifications required to safeguard integrity of passive fire element performance where penetrations are necessitated by the fire systems design

basic principles of structural engineering

characteristics of building materials

construction industry terminology

roles and responsibilities of relevant building project personnel:

architect

lead contractor

mechanical engineer

hydraulic engineer

electrical engineer

on-site issues, including technical, that can arise during the construction phase and impose changes to the designs of fire systems and other services:

installation issues:

discrepancies between designed and actual structure

discrepancies between designed and actual systems for other services:

mechanical

hydraulic

electrical

errors in supplied materials and components

scheduling and sequencing changes

problems with access to installation locations of fire system components

installation implications:

on-site work health and safety (WHS) risks

manual handling

confined spaces

working at height

installation methods:

access requirements:

height of pipe

length of pipe

weight of materials

distance from beams

distance from walls

WHS requirements

sustainability requirements and ratings:

energy conservation

water conservation

mathematic principles, equations and calculation methods relevant to the system type.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad