# CPCSFS5013 Support commissioning processes and finalise fire systems design projects

Release: 1

CPCSFS5013 Support commissioning processes and finalise fire systems design projects

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCSFS5013A Support commissioning processes and finalise fire systems design projects. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Application

This unit of competency specifies the outcomes required to confirm the post-installation details of fire systems and produce amended drawings and documentation, and to prepare detailed commissioning procedures and specifications. The unit also covers reviewing issues and solutions arising during fire systems design projects and making subsequent improvements to fire systems design project processes.

This unit of competency supports the role of fire systems designers with responsibility for producing ‘as built’ drawings, block plans, tactical fire plans, and operations and maintenance manuals for fire systems.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing and Fire Services

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Produce accurate final drawings for fire systems. | 1.1 | Document progressive changes to fire systems design drawings resulting from construction phase issues according to workplace and project procedures. |
|  |  | 1.2 | Confirm and record final component sizes, locations and building dimensions. |
|  |  | 1.3 | Prepare, name, notate, file and submit accurate ‘as built’ drawings according to workplace procedures and project requirements. |
|  |  | 1.4 | Produce appropriate block plans and tactical fire plans as required. |
| 2 | Prepare commissioning details, and operation and maintenance manuals for fire systems. | 2.1 | Prepare system performance requirements and commissioning procedures and specifications according to relevant codes and standards and component manufacturer’s recommendations and workplace and project requirements. |
|  |  | 2.2 | Prepare standard operating procedures (SOPs) for the fire system based on relevant codes and standards and component manufacturer’s recommendations. |
|  |  | 2.3 | Produce regular maintenance procedures for the fire system based on codes and standards component manufacturer’s recommendations and relevant regulatory requirements. |
|  |  | 2.4 | Install operation and maintenance signage as required, according to relevant workplace, project and regulatory requirements codes and standards. |
| 3 | Review and evaluate the fire systems design process. | 3.1 | Review and process project documentation including issues and their solutions. |
|  |  | 3.2 | Discuss project issues and solutions with relevant workplace personnel and explore process improvement strategies. |
|  |  | 3.3 | Amend project planning, methodologies and quality assurance systems to incorporate agreed process improvement strategies. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCSFS5013A Support commissioning processes and finalise fire systems design projects.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCSFS5013 Support commissioning processes and finalise fire systems design projects

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCSFS5013A Support commissioning processes and finalise fire systems design projects. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

preparing four final fire systems design project documentation, including drawings, specifications and commissioning support documentation, including for a:

commercial building

factory

residential nursing home

high-rise building.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

workplace design tools and processes

drawings, plans, reports and specifications

level of accuracy required in detailed design drawings

naming conventions for design drawings and drawing register

relevant regulatory approval and fire systems design certification processes

relevant current legislation, codes and standards:

building Acts

building regulations

infrastructure supply regulations

the Building Code of Australia (BCA)

National Construction Code (NCC)

Australian standards for fire systems

international standards for fire systems

jurisdictional authorities in addition to the BCA and NCC

other fire system standards commonly required by building insurers

protection requirements for different buildings including low-rise, medium-rise, high-rise (over 25 metres) and buildings over 45 metres in height

fire systems’ technology and components:

water-based systems:

wet pipe sprinkler systems

deluge and drencher systems

dry pipe sprinkler systems

pre-action sprinkler systems

early suppression fast response (ESFR)

water spray systems

water mist systems

gaseous suppression systems

wet chemical suppression systems

foam suppression systems

hydrants, hose reels and monitors

water supply tanks

fire pump sets

detection and warning systems:

occupant warning systems

emergency warning and intercommunications systems (EWIS)

fire detection and alarm systems

smoke control systems

emergency lighting systems

purpose and operation of fire systems:

layout

special products and hazards

system operation

performance requirements:

for water-based systems:

speed of response

time taken to reach full-flow conditions

area of coverage

nozzle locations

droplet profile and characteristics

duration of response

for detection and warning systems:

correct sensors

sensitivity to fire size

speed of detection and response

fire location coverage

maintenance standards

system activation and operation

passive fire safety elements:

identification of passive elements

impact of fire systems design on passive elements

specifications required to safeguard integrity of passive fire element performance where penetrations are necessitated by the fire systems design

characteristics and limitations of products and materials used in fire systems and issues relating to material compatibility

maintenance procedures:

site-specific maintenance instructions

manufacturer’s specific maintenance instructions

local government regulations

Australian standards, such as:

AS 1851 Routine service of fire protection systems and equipment

safety data sheets (SDS).

interconnection of fire systems:

cause and effect matrix

interface with other services

instruments used in commissioning and measuring fire system performance:

commissioning procedures and specifications:

procedures listed in Australian standards, such as:

AS 2118.1 Automatic fire sprinkler systems - General Systems

AS 2118.4 Automatic fire sprinkler systems - Sprinkler protection for accommodation buildings not exceeding for storeys in height

AS 2118.6 Automatic fire sprinkler systems - Combined sprinkler and hydrant systems in multi-storey buildings

AS 1670.1 Fire, detection, warning, control and intercom systems - System design, installation and commissioning - Fire

AS 1670.4 Fire, detection, warning, control and intercom systems - System design, installation and commissioning - Emergency warning and intercom systems

AS 2419.1 Fire hydrant installations - System design, installation and commissioning

AS 2441 Installation of fire hose reels

AS 2941 Fixed fire protection installations - Pumpset Systems

AS ISO 14520.1 Gaseous fire extinguishing system - Physical properties and system design - General requirements

U.S. National Fire Protection Association (NFPA) codes

factory mutual data sheets

manufacturer recommendations

construction industry terminology

roles and responsibilities of relevant building project personnel:

architect

lead contractor

structural engineer

mechanical engineer

hydraulic engineer

electrical engineer

civil engineers

fire engineers

building(private) certifier or surveyor

contractual processes

signage:

technical design data, including systems performance and layout on a block plan

pressure switch setting plaque

interface cause and effect drawing

operating instructions

manufacturer’s technical plates or labels

signs in the pump room for water-based system:

system pressure

town mains pressure

pump cut-in pressure

pressure gauge schedule

block plans

visual and audible alarms for gaseous suppression systems, including:

strobes lights

speakers and horns

system interface matrix

block plans

signage for detection and warning systems:

system interface matrix

block plans

device lists.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad