# CPCSFS5014 Conduct annual fire systems inspections

Release: 1

CPCSFS5014 Conduct annual fire systems inspections

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCSFS5014A Conduct annual fire systems certification inspections. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Application

This unit of competency specifies the outcomes required to assess all types of fire systems in all types of buildings to ensure that the systems comply with applicable legislation and will perform in the event of a fire.

This unit of competency supports the role of annual inspectors of fire systems with responsibility for inspecting existing fire systems; assessing compliance with the relevant applicable legislation, codes and standards; and advising whether they continue to perform to current fire safety standards.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing and Fire Services

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Prepare for annual fire systems inspections. | 1.1 | Schedule annual fire systems inspections in a timely manner and in consultation with relevant stakeholders, as required. |
|  |  | 1.2 | Obtain and review current building plans and identify and note modifications made to the building since the last inspection. |
|  |  | 1.3 | Review and use information regarding the current and historical legislation, codes and standards and fire engineered solutions applicable to fire systems to inform inspection planning. |
|  |  | 1.4 | Review and use information regarding the validity of fire systems’ compliance documentation to inform inspection planning. |
|  |  | 1.5 | Plan fire systems certification inspections to ensure efficient and comprehensive implementation. |
| 2 | Conduct annual fire systems inspections. | 2.1 | Inspect and assess each aspect of each fire system for compliance with the applicable current and historical legislation, codes, standards, regulatory requirements and document findings. |
|  |  | 2.2 | Assess and record the current performance level of each fire system. |
| 3 | Produce annual fire systems inspection reports and communicate findings. | 3.1 | Analyse the findings of inspections and identify and record works required to address shortfalls in fire systems’ compliance or performance according to regulatory requirements. |
|  |  | 3.2 | Produce and process reports according to regulatory requirements. |
|  |  | 3.3 | Communicate the findings of the report to relevant stakeholders according to regulatory requirements, and carefully explain works required to rectify fire systems. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCSFS5014A Conduct annual fire systems certification inspections.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCSFS5014 Conduct annual fire systems inspections

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCSFS5014A Conduct annual fire systems certification inspections. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria for this unit by:

preparing for, conducting and reporting on annual fire systems inspections for four types of fire systems in buildings with different construction and modification histories, including:

commercial building

factory

residential nursing home

high-rise building.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

auditing processes and protocols:

compliance documentation:

fire safety schedules

inspection and testing logbooks

maintenance, repair and replacement documentation

roles and responsibilities of relevant professional personnel:

fire engineer

fire brigade personnel

building surveyor or certifier

persons with regulatory authority

architect

structural engineer

fire systems’ designer

computer software functions and operation:

word processing

spreadsheet

email

internet

drawings, plans, reports and specifications

types of buildings, including:

low-rise buildings

processing building applications

warehouse buildings under 13.7 m high

warehouse buildings over 13.7 m high

medium-rise buildings

high-rise buildings (over 25 metres)

buildings over 50 metres in height

relevant current and historical legislation, codes and standards:

building Acts

building regulations

infrastructure supply regulations

the Building Code of Australia (BCA)

National Construction Code (NCC)

Australian standards for fire systems

international standards for fire systems

other fire system standards commonly required by building insurers

jurisdictional authorities in addition to the BCA and NCC

protection requirements for different buildings

fire systems’ technology and components:

water-based systems, including:

wet pipe sprinkler systems

deluge and drencher systems

dry pipe sprinkler systems

pre-action sprinkler systems

early suppression fast response (ESFR)

hydrants, hose reels and monitors

water supply tanks

fire pump sets

hydrants, hose reels and monitors

water supply tanks

fire pump sets

detection and warning systems:

occupant warning systems

emergency warning and intercommunications systems (EWIS)

fire detection and alarm systems

smoke control systems

emergency lighting systems

special hazard fire systems:

foam systems (low expansion, medium expansion and high expansion)

gaseous agent systems (carbon dioxide, inert gas and halocarbon gases)

water spray systems (deluge, medium/high velocity water spray and high-speed deluge)

chemical powder systems

wet chemical systems

characteristics and limitations of products and materials used in fire systems and issues relating to material compatibility

interconnection of fire systems:

cause and effect matrix

interface with other services

passive fire safety elements:

identification of passive elements

requirements for safeguarding the integrity of passive fire element performance where penetrations have been made

basic principles of structural engineering

characteristics of building materials

construction industry terminology

contractual processes.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad