# CPCSFS5014 Conduct annual fire systems inspections

Release: 1

CPCSFS5014 Conduct annual fire systems inspections

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCSFS5014A Conduct annual fire systems certification inspections. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Application

This unit of competency specifies the outcomes required to assess all types of fire systems in all types of buildings to ensure that the systems comply with applicable legislation and will perform in the event of a fire.

This unit of competency supports the role of annual inspectors of fire systems with responsibility for inspecting existing fire systems; assessing compliance with the relevant applicable legislation, codes and standards; and advising whether they continue to perform to current fire safety standards.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

Nil.

# Unit Sector

Plumbing and Fire Services

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Prepare for annual fire systems inspections. | 1.1 | Schedule annual fire systems inspections in a timely manner and in consultation with relevant stakeholders, as required. |
|  |  | 1.2 | Obtain and review current building plans and identify and note modifications made to the building since the last inspection. |
|  |  | 1.3 | Review and use information regarding the current and historical legislation, codes and standards and fire engineered solutions applicable to fire systems to inform inspection planning. |
|  |  | 1.4 | Review and use information regarding the validity of fire systems’ compliance documentation to inform inspection planning. |
|  |  | 1.5 | Plan fire systems certification inspections to ensure efficient and comprehensive implementation. |
| 2 | Conduct annual fire systems inspections. | 2.1 | Inspect and assess each aspect of each fire system for compliance with the applicable current and historical legislation, codes, standards, regulatory requirements and document findings. |
|  |  | 2.2 | Assess and record the current performance level of each fire system. |
| 3 | Produce annual fire systems inspection reports and communicate findings. | 3.1 | Analyse the findings of inspections and identify and record works required to address shortfalls in fire systems’ compliance or performance according to regulatory requirements. |
|  |  | 3.2 | Produce and process reports according to regulatory requirements. |
|  |  | 3.3 | Communicate the findings of the report to relevant stakeholders according to regulatory requirements, and carefully explain works required to rectify fire systems. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCSFS5014A Conduct annual fire systems certification inspections.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad