# Assessment Requirements for CPCSFS5015 Prepare documentation for annual fire systems inspections

Release: 1

Assessment Requirements for CPCSFS5015 Prepare documentation for annual fire systems inspections

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCSFS5015A Assess documentation for annual fire systems certification inspections. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by:

preparing relevant documentation of annual fire systems inspections that apply to existing fire systems in a range of buildings, including:

commercial building

factory

residential nursing home

high-rise building.

The activity should include preparation of fire safety schedules and inspection, testing and maintenance documentation.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

compliance documentation:

fire safety schedules

inspection and testing logbooks

maintenance, repair and replacement documentation

computer software functions and operation, including relevant proprietary software

reading and interpreting drawings and reports

relevant current and historical legislation, codes and standards:

building Acts

building regulations

infrastructure supply regulations

the Building Code of Australia (BCA)

National Construction Code (NCC)

Australian standards for fire systems

international standards for fire systems

jurisdictional authorities in addition to the BCA and NCC

other fire system standards commonly required by building insurers

protection requirements for different buildings, including:

low-rise buildings

processing building applications

warehouse buildings under 13.7 m high

warehouse buildings over 13.7 m high

medium-rise buildings

high-rise buildings (over 25 metres)

buildings over 50 metres in height

fire systems’ technology and components:

water-based systems:

wet pipe sprinkler systems

deluge and drencher systems

dry pipe sprinkler systems

pre-action sprinkler systems

early suppression fast response (ESFR)

hydrants, hose reels and monitors

water supply tanks

fire pump sets

detection and warning systems:

occupant warning systems

emergency warning and intercommunications systems (EWIS)

fire detection and alarm systems

smoke control systems

emergency lighting systems

special hazard fire systems:

foam systems (low expansion, medium expansion and high expansion)

gaseous agent systems (carbon dioxide, inert gas and halocarbon gases)

water spray systems (deluge, medium/high velocity water spray and high-speed deluge)

chemical powder systems

wet chemical systems

characteristics and limitations of products and materials used in fire systems and issues relating to material compatibility

interconnection of fire systems:

cause and effect matrix

interface with other services

passive fire safety elements:

identification of passive elements

requirements for safeguarding the integrity of passive fire element performance where penetrations have been made

basic principles of structural engineering

characteristics of building materials

construction industry terminology

sustainability requirements and ratings:

energy conservation

water conservation.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad