# CPCSFS5015 Prepare documentation for annual fire systems inspections

Release: 1

CPCSFS5015 Prepare documentation for annual fire systems inspections

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCSFS5015A Assess documentation for annual fire systems certification inspections. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Application

This unit of competency supports annual inspections of fire systems. The unit of competency specifies the outcomes required to research the applicable regulatory requirements for existing fire systems in all types of buildings and to assess compliance documentation to determine whether requirements are met.

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-requisite Unit

CPCSFS5014 Conduct annual fire systems inspections

# Unit Sector

Plumbing and Fire Services

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Determine the installation dates for fire systems. | 1.1 | Access, interpret and document the construction dates and modification histories of buildings to be inspected. |
|  |  | 1.2 | Identify the types of fire systems installed in buildings to be inspected from compliance documentation. |
|  |  | 1.3 | Identify the installation dates for individual fire systems in buildings to be inspected. |
| 2 | Research and interpret the applicable codes and standards. | 2.1 | Research and identify the current and historical legislation, codes and standards applicable to individual fire systems at the time of installation, or modification of the building. |
|  |  | 2.2 | Research and interpret the detailed requirements of applicable historical legislation, codes and standards and fire engineered solutions. |
|  |  | 2.3 | Document and report any disparity between historical legislation, codes and standards applicable and fire engineered solutions applicable at the installation or modification date and current fire safety requirements to relevant stakeholders. |
|  |  | 2.4 | Prepare checklists and notes on applicable current and historical codes and standards to assist the annual inspection process. |
| 3 | Assess and report on fire system compliance documentation. | 3.1 | Review and check schedules for the inspection, testing and maintenance of fire safety systems for compliance with current regulatory requirements. |
|  |  | 3.2 | Review and check documentation for regular fire systems inspection and testing activities for currency and completeness. |
|  |  | 3.3 | Identify and note information regarding non-compliance issues and defects. |
|  |  | 3.4 | Request and review documentary evidence of resolution of non-compliance issues and defects if available. |
|  |  | 3.5 | Prepare checklists and notes on non-compliance issues and defects identified from compliance documentation to assist the annual inspection process. |
|  |  | 3.6 | Prepare and process reports detailing anomalies and omissions in fire systems’ compliance documentation according to workplace and regulatory requirements. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPCSFS5015A Assess documentation for annual fire systems certification inspections.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPCSFS5015 Prepare documentation for annual fire systems inspections

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and is equivalent to CPCSFS5015A Assess documentation for annual fire systems certification inspections. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by:

preparing relevant documentation of annual fire systems inspections that apply to existing fire systems in a range of buildings, including:

commercial building

factory

residential nursing home

high-rise building.

The activity should include preparation of fire safety schedules and inspection, testing and maintenance documentation.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

compliance documentation:

fire safety schedules

inspection and testing logbooks

maintenance, repair and replacement documentation

computer software functions and operation, including relevant proprietary software

reading and interpreting drawings and reports

relevant current and historical legislation, codes and standards:

building Acts

building regulations

infrastructure supply regulations

the Building Code of Australia (BCA)

National Construction Code (NCC)

Australian standards for fire systems

international standards for fire systems

jurisdictional authorities in addition to the BCA and NCC

other fire system standards commonly required by building insurers

protection requirements for different buildings, including:

low-rise buildings

processing building applications

warehouse buildings under 13.7 m high

warehouse buildings over 13.7 m high

medium-rise buildings

high-rise buildings (over 25 metres)

buildings over 50 metres in height

fire systems’ technology and components:

water-based systems:

wet pipe sprinkler systems

deluge and drencher systems

dry pipe sprinkler systems

pre-action sprinkler systems

early suppression fast response (ESFR)

hydrants, hose reels and monitors

water supply tanks

fire pump sets

detection and warning systems:

occupant warning systems

emergency warning and intercommunications systems (EWIS)

fire detection and alarm systems

smoke control systems

emergency lighting systems

special hazard fire systems:

foam systems (low expansion, medium expansion and high expansion)

gaseous agent systems (carbon dioxide, inert gas and halocarbon gases)

water spray systems (deluge, medium/high velocity water spray and high-speed deluge)

chemical powder systems

wet chemical systems

characteristics and limitations of products and materials used in fire systems and issues relating to material compatibility

interconnection of fire systems:

cause and effect matrix

interface with other services

passive fire safety elements:

identification of passive elements

requirements for safeguarding the integrity of passive fire element performance where penetrations have been made

basic principles of structural engineering

characteristics of building materials

construction industry terminology

sustainability requirements and ratings:

energy conservation

water conservation.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad