# Assessment Requirements for CPCSFS5017 Create detailed designs for foam suppression systems

Release: 2

Assessment Requirements for CPCSFS5017 Create detailed designs for foam suppression systems

# Modification History

| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Application reformatted and typographical error in Knowledge Evidence corrected. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. New unit. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by:

effectively designing three different foam suppression systems for three different building types.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

workplace design tools and processes:

effective and workable layout and location:

selection of cost-effective components and materials

consideration of:

penetrations

conflict with other services

work health and safety risks

access constraints

installation problems

aesthetic requirements

efficiencies to facilitate work on site and reduce labour costing

negotiations regarding amendments:

non-compliance with applicable legislation, codes and standards

impact on installation risks and constraints

impact on cost-effectiveness

relevant regulatory approval and fire systems design certification processes

level of accuracy required in detailed design drawings

naming conventions for design drawings and drawing register

foam suppression systems using a range of water supplies, including:

town main

town main and elevated tank

town main with a 100% capacity tank

town main with a partial capacity tank

tank supply with multiple tank

water supply using dams, rivers and sea water

fire science:

fire behaviour and dynamics

impact of fire on structures and materials

products of combustion

fire control strategies

fire retardants

fire detection technologies

fire suppression technologies

fire containment

computer software functions and operation:

word processing

spreadsheet

email

internet

proprietary hydraulic calculation software

proprietary estimating software

parametric modelling software, such as Navis-Works or MEP-REVIT

relevant current legislation, codes and standards:

building Acts

building regulations

infrastructure supply regulations

the Building Code of Australia (BCA)

National Construction Code (NCC)

Australian standards for fire systems

international standards for fire systems

other fire system standards commonly required by building insurers

fire systems technology and components for foam suppression systems:

discharge nozzles

pipework

brackets

system and control valves

zone valves

fire panels

hangers

fittings

purpose and operation of fire systems:

layout

system operation

performance requirements

maintenance standards

system activation and operation

characteristics and limitations of products and materials used in fire systems and issues relating to material compatibility

passive fire safety elements:

identification of passive elements

impact of fire systems design on passive elements

specifications required to safeguard integrity of passive fire element performance where penetrations are necessitated by the fire systems design

interconnection of fire systems:

cause and effect matrix

interface with other services

basic principles of structural engineering

characteristics of building materials

construction industry terminology

roles and responsibilities of relevant building project personnel:

architect

lead contractor

structural engineer

mechanical engineer

hydraulic engineer

electrical engineer

civil engineer

fire engineer

building (private) certifier

onsite issues that can arise during the construction phase and impose changes to the designs of fire systems and other services

installation methods:

access requirements

work health and safety (WHS) requirements

hydraulic calculations and fluid mechanics and hydraulics relating to pipe range

water and oil capture and onsite storage systems for environmental purposes

sustainability requirements and ratings:

energy conservation

water conservation

pipe fabrication methods and constraints

foam suppression systems for a range of types of sites, including:

transformers

aircraft hangers

petroleum industry storage facilities

diesel, steam and gas turbine rooms

commissioning of foam suppression systems:

pressure testing methodologies during the installation phases and their advantages and disadvantages:

use of water

use of compressed air

nitrogen cylinders

validating water supplies

validating tank in-fill flows

validating pump performance:

setting pressures for pump starts

setting pressures for jacking pump start/stop

setting pressure for pressure maintenance pump start/stop

reaction times to pumps starting:

high set pressures

low set pressures

validating sprinkler system performance:

Annubar at sprinkler valves or pumps

discharge rates and quantities

discharge times for various types of sprinkler systems:

at alarm valve

remote test valve

the role of the local fire authorities in commissioning fire systems

documentation to be completed and distributed

technical issues impacting on foam suppression system designs

mathematic principles, equations and calculation methods:

financial calculations, for example to assess cost-effectiveness of fire systems

trigonometry, for example to amend dimensions of pipe allowing for fittings

flow calculations:

area of operations

discharge rates and quantities

discharge times

pressure gain and loss

K-factors

pressure, temperature and volume relationship

Hazen-Williams equation

Darcy-Weisbach equation

ColeBrook White equations and/or tables

Manning Formula and/or tables

AS 2200 Design charts for water supply and sewerage

computational fluid dynamics

principles of organic and inorganic chemistry

principles of physical sciences:

Boyle’s law

Charles’ law

Dalton’s law

Henry’s law

principles of thermodynamics:

effects of heat

stratification of gases

smoke and heat dynamics

human psychology, especially fire avoidance behaviour

project drawings and documentation:

architectural

structural

mechanical

electrical

hydraulic

fire engineer’s or estimator’s specifications.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad