# Assessment Requirements for CPCSFS8001 Define scope of and initiate special hazard fire systems design projects

Release: 1

Assessment Requirements for CPCSFS8001 Define scope of and initiate special hazard fire systems design projects

# Modification History

Release 1.

This version first released with CPC Construction, Plumbing and Services Training Package Version 1.

Replaces superseded equivalent CPCSFS7001A Define scope of and initiate special hazard fire systems design projects.

# Performance Evidence

A person demonstrating competency in this unit must satisfy all of the elements, performance criteria and foundation skills of this unit. The person must define the scope of and initiate two special hazard fire systems design (SHFSD) projects for special hazard sites as outlined in the range of conditions.

For each project, the person must:

establish and communicate project parameters and task allocation, coordination and scheduling

ensure systems are in place for project communication, file management, quality assurance and regulatory approvals

define the requirements for the SHFSD

gather and conduct a detailed analysis of project documentation relating to:

structural characteristics

functions and occupancies

read and interpret notations and measure and interpret dimensions, ratios and scales on drawings, including:

architectural

electrical

hydraulic

mechanical

structural

confirm the hazard classification for the special hazard site and determine applicable compliance and requirements, including those specified by insurers

produce a risk assessment confirming the type or types of special hazard detection and suppression system that will be designed for the special hazard site, ensuring that the systems are compliant and effective and address the specific conditions of the project.

In particular the person should demonstrate:

project management skills to coordinate, schedule, resource and oversee the initiation of two SHFSD projects

the ability to read and interpret a range of design documents, including concept briefs, design briefs, drawings, plans and specifications

the ability to apply legislation, codes, standards, and regulatory and insurance requirements that may apply to SHFSD projects, including Australian and United States National Fire Protection Association (NFPA) standards

the ability to conduct risk assessment processes.

# Knowledge Evidence

A person demonstrating competency in this unit must be able to demonstrate knowledge of:

electrics and electronics theory, including:

units used to measure current (AC and DC), power, capacitance, inductance and sound attenuation

effects of AC and DC current in series and parallel circuit paths that include resistive, inductive and capacitive loads

relationship between voltage drops around a circuit and applied voltage

definition of voltage ratings as defined in communication and electrical safety regulations, including extra low voltage, low voltage and hazardous voltages

layout of electrical wiring systems to meet communication and electrical safety regulations applicable to fire detection and warning systems

basic operation of common electronic and electrical components used in fire detection and warning systems

basic operation of communication protocols on addressable systems, peripheral devices (printers) and high-level interfaces to other communication devices used in fire detection and warning systems

acoustics and speech intelligibility for occupant warning systems

basic principles of structural engineering

construction industry terminology used in project documentation and relevant standards

contractual processes

current legislation, regulations, codes and standards applicable to SHFSD, including:

building Acts and regulations

infrastructure supply regulations

Australian standards for fire systems

National Construction Code (NCC)

other fire system standards commonly required by building insurers, including NFPA standards and International Organization for Standardization (ISO) standards

financial processes and calculations required to support commercially sound SHFSD projects, including:

budgeting

cost-effectiveness

level of accuracy required in detailed design drawings

mathematical principles, equations and calculation methods required for SHFSD, including:

trigonometry to amend dimensions of pipe allowing for fittings

flow calculations, including:

area of operations

discharge rates and quantities

discharge times

pressure gain and loss

K-factors

pressure, temperature and volume relationship

Hazen-Williams equation

Darcy-Weisbach equation

computational fluid dynamics

electrical calculations for alarm systems, including:

voltage drops

battery sizes

battery back-up

power supplies

cabling range

system calculations for gas or special hazard fire systems

other calculations, including:

motor output

piping friction loss

pump capacity

naming conventions for design drawings and drawing register

organisational frameworks and functions, including:

industry associations

enterprises

government bodies

principles of basic physics, including:

Boyle’s Law

Charles’ Law

Dalton’s Law

Henry’s Law

principles of fire engineering, including:

engineered solutions

innovative fire systems

fire modelling

principles of fire science, including:

fire behaviour and dynamics

impact of fire on structures and materials

products of combustion

fire control strategies

fire retardants

fire detection technologies

fire suppression technologies

fire containment

human psychology especially fire avoidance behaviour

range of fire protection technologies suitable for SHFSD projects, including:

passive fire safety elements:

identification of passive elements

impact of fire systems design on passive elements

specifications required to safeguard integrity of passive fire element performance where penetrations are necessitated by the fire systems design

water-based systems, including:

deluge and drencher

dry pipe sprinkler

early suppression fast response (ESFR)

fire pumpsets

hydrants, hose reels and monitors

pre-action sprinkler

water supply tanks

wet pipe sprinkler

water supplies, including:

booster configurations

common water sources

conservation requirements

in-ground reticulation

fluid mechanics and hydraulics relating to:

pipe range

pressure

pressure vessels

pump selection

tank selection

water supply

detection and warning systems, including:

emergency lighting systems

emergency warning and intercommunication systems (EWIS)

fire detection and alarm systems

smoke control systems

chemical systems, including:

powder

wet chemical

purpose and operation of fire systems, including:

characteristics and limitations of products and materials used in fire systems and issues relating to material capability

layout

maintenance standards

performance requirements

special products and hazards

system activation and operation

system operation

pipe fabrication methods and constraints

interconnection of fire systems, including:

cause and effect matrix

interface with other services

sustainability requirements relevant to the project:

energy conservation

water conservation

principles of organic and inorganic chemistry, including basic chemical reactions and substances

principles of thermodynamics, including:

effects of heat

stratification of gases

smoke and heat dynamics

protection requirements for different buildings, including:

consideration of construction materials used

egress requirements of occupants

existence of special zones

risk management processes

requirements for installation:

access requirements

work health and safety requirements

roles and responsibilities of relevant building project personnel

types of workplace design and project management tools, and processes suitable for scoping and initiating SHFSD projects, including:

proprietary fire engineering and modelling programs

parametric modelling of services coordination using proprietary software, such as Navis-Works or MEP-REVIT.

# Assessment Conditions

Assessment must be conducted in the workplace or a close simulation of the workplace.

Suitable assessment of performance would require:

equipment:

computer with internet and email access

software: word processing and spreadsheet functionality; parametric modelling; and proprietary estimating, hydraulic calculation, and project management

materials:

access to current legislation, codes and standards relevant to the jurisdiction in which the work is taking place, including:

building Acts and regulations

infrastructure supply regulations

Australian standards for fire systems

NCC

other fire system standards commonly required by building insurers, including NFPA standards and ISO standards

project documentation, including design briefs, design drawings, specifications, construction schedules and other supporting documents.

### Assessor requirements

Assessors must satisfy the assessor requirements in the Standards for Registered Training Organisations (RTOs) current at the time of assessment.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad