# Assessment Requirements for CPCSFS8002 Analyse, design and evaluate complex special hazard fire systems

Release: 1

Assessment Requirements for CPCSFS8002 Analyse, design and evaluate complex special hazard fire systems

# Modification History

Release 1.

This version first released with CPC Construction, Plumbing and Services Training Package Version 1.

Replaces superseded equivalent CPCSFS7002A Analyse, design and evaluate complex special hazard fire systems.

# Performance Evidence

A person demonstrating competency in this unit must satisfy all of the elements, performance criteria and foundation skills of this unit. The person must analyse, design and evaluate complex special hazard fire systems for two different types of projects.

In particular the person must:

apply a knowledge of fire and related sciences when designing compliant and effective systems that address the specific conditions of the projects being undertaken

calculate system capacities and performance

read and interpret a range of design documents, including concept briefs, design briefs, drawings, plans and specifications from the following specialist fields:

architectural

electrical

fire engineer or estimator

hydraulic

mechanical

structural

use computer software packages and systems relevant to special hazard fire systems design projects, including:

project management software

hydraulic calculation software

estimating software

parametric modelling software

apply project management strategies to ensure contractual obligations are met

apply legislation, codes, standards, and regulatory and insurance requirements that may apply to special hazard fire systems design projects, including Australian and United States National Fire Protection Association (NFPA) standards

research appropriate special hazard fire detection and warning systems

produce and edit special hazard fire systems design drawings using industry standard software that specify:

layouts

sections

details

external references

freezing layers

create detailed hand-drawings and sketches to convey information to on-site workers

design integrated solutions encompassing fire detection, warning and suppression components for special hazard fire systems as they apply to at least two different types of special hazards requiring the application of different technical solutions.

# Knowledge Evidence

A person demonstrating competency in this unit must be able to demonstrate knowledge of:

characteristics and limitations of products and materials used in fire systems and issues relating to material capability

contractual processes

financial management, including:

budgeting

cost-effectiveness

fire engineering principles, including:

engineered solutions

fire modelling

innovative fire systems

fire science sufficient to ensure the design of compliant and effective systems that address the specific conditions of the projects being undertaken, including:

fire behaviour and dynamics

impact of fire on structures and materials

products of combustion

fire control strategies

fire retardants

fire detection technologies

fire suppression technologies

fire containment

fire systems’ technology and components

fluid mechanics and hydraulics relating to:

pipe range

pressure

pressure vessels

pump selection

tank selection

water supply

interconnection of fire systems, including:

cause and effect matrix

interface with other services

passive fire safety elements, including:

fire modelling

identification of passive elements

impact of fire systems design on passive elements

innovative fire systems

specifications required to safeguard integrity of passive fire element performance where penetrations are necessitated by the fire systems design

principles of basic physics, including an understanding of:

Boyle’s Law

Charles’ Law

Dalton’s Law

Henry’s Law

principles of electrical and electronics theory, including:

acoustics and speech intelligibility for occupant warning systems

basic operation of common electronic and electrical components used in fire detection and warning systems

basic operation of communication protocols on addressable systems, peripheral devices (printers) and high-level interfaces to other communication devices used in fire detection and warning systems

definition of voltage ratings as defined in communication and electrical safety regulations, including extra low voltage, low voltage and hazardous voltages

effects of AC and DC current in series and parallel circuit paths that includes resistive, inductive and capacitive loads

layout of electrical wiring systems to meet communication and electrical safety regulations applicable to fire detection and warning systems

relationship between voltage drops around a circuit and applied voltage

units used to measure current (AC and DC), power, capacitance, inductance and sound attenuation

principles of organic and inorganic chemistry, including basic chemical substances and reactions

principles of thermodynamics, including:

effects of heat

stratification of gases

smoke and heat dynamics

project management strategies

protection requirements for different buildings, including the existence of special zones, the egress requirements of occupants, and the construction materials used

purpose and operation of fire systems, including:

layout

maintenance standards

performance requirements

special products and hazards

system activation and operation

system operation

relevant current legislation, codes and standards specific to complex special hazard fire systems, including:

building Acts and regulations

infrastructure supply regulations

Australian and international standards for fire systems

National Construction Code (NCC)

other fire system standards commonly required by building insurers

requirements for installation:

access requirements

work health and safety requirements

sustainability requirements relevant to the system:

energy conservation

water conservation

water supplies, including:

booster configurations

common water sources

conservation requirements

in-ground reticulation

workplace design tools and processes, including the use of software.

# Assessment Conditions

Assessment must be conducted in the workplace or a close simulation of the workplace.

Suitable assessment of performance would require:

equipment:

computer with internet and email access

software: word processing and spreadsheet functionality; parametric modelling; and proprietary estimating, project management, and hydraulic calculation

materials:

access to current legislation, codes and standards relevant to the jurisdiction and the project being undertaken, including:

Australian and international standards for fire systems

building Acts and regulations

infrastructure supply regulations

NCC

other fire system standards commonly required by building insurers

project documentation for two special hazard fire systems design projects, including design briefs, design drawings, specifications, construction schedules, product information and other supporting documents.

### Assessor requirements

Assessors must satisfy the assessor requirements in the Standards for Registered Training Organisations (RTOs) current at the time of assessment.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad