# Assessment Requirements for CPCSFS8003 Develop and submit tenders for fire systems design solutions

Release: 1

Assessment Requirements for CPCSFS8003 Develop and submit tenders for fire systems design solutions

# Modification History

Release 1.

This version first released with CPC Construction, Plumbing and Services Training Package Version 1.

Replaces superseded equivalent CPCSFS7003A Develop and submit tenders for fire systems design solutions.

# Performance Evidence

A person demonstrating competency in this unit must satisfy all of the elements, performance criteria and foundation skills of this unit. The person must research, plan, cost and tender for the design, fabrication and installation of efficient, effective and compliant fire detection and suppression systems for two different fire systems design projects.

In particular, for each project the person must:

accurately calculate:

fire system capacities and performance

costs of design, fabrication and installation of fire systems, including overhead costs

read and interpret a range of design documents, including concept briefs, design briefs, drawings, plans and specifications

apply requirements of legislation, codes, standards, regulatory and insurance requirements relevant to fire systems design projects, including Australian and United States National Fire Protection Association (NFPA) standards when developing tenders for the design, fabrication and installation of fire systems

research appropriate fire detection and suppression systems

prepare tender or bid documentation that meets the bid specification requirements

build relationships with potential clients and suppliers, and conduct business negotiations.

# Knowledge Evidence

A person demonstrating competency in this unit must be able to demonstrate knowledge of:

characteristics and limitations of products and materials used in fire systems and issues relating to material capability

fire detection and suppression systems, components and technologies and costs associated with their design, purchase or fabrication, and installation

fire systems’ technology and components:

water-based systems

detection and warning systems

special hazard fire systems

chemical systems

industry networks and mechanisms for expanding and updating knowledge of fire systems and technologies

interconnection of fire systems:

cause and effect matrix

interface with other services

legislation, codes, standards, regulatory and insurance requirements that apply to each of the two fire systems design projects specified in the performance evidence, including Australian and NFPA standards

mathematical principles, equations and calculation methods to inform the development of tender proposals for fire systems design solutions, including:

taking accurate measurements

financial calculations:

labour costs

overheads

profit margins

water-based system calculations:

dimensions

motor output

pipe lengths

piping friction loss

pump capacity

electrical system calculations:

battery back-up

battery capacity

dimensions

power supplies

voltage drops

passive fire safety elements:

identification of passive elements

impact of fire systems design on passive elements

specifications required to safeguard integrity of passive fire element performance where penetrations are necessitated by the fire systems design

range of design documents, including concept briefs, design briefs, drawings, plans and specifications and the meaning of symbols, notations and technical language used

tendering, bidding and contractual processes, including interpreting:

bid requirements

contractual requirements.

# Assessment Conditions

Assessment must be conducted in the workplace or a close simulation of the workplace.

Suitable assessment of performance would require:

equipment:

computer with internet and email access

software: word processing and spreadsheet functionality; and proprietary estimating

materials:

access to current legislation, codes and standards relevant to the jurisdiction in which the work is taking place, including:

building Acts and regulations

infrastructure supply regulations

Australian standards for fire systems

National Construction Code

other fire system standards commonly required by building insurers, including NFPA standards

organisational policies and procedures:

strategic planning policies

legal, financial and accounting procedures relating to response to tenders

project documentation for two fire systems design projects, including design briefs, design drawings, specifications and product information.

### Assessor requirements

Assessors must satisfy the assessor requirements in the Standards for Registered Training Organisations (RTOs) current at the time of assessment.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad