# Assessment Requirements for CPCSHP3003 Assemble and install shopfront structures

Release: 2

Assessment Requirements for CPCSHP3003 Assemble and install shopfront structures

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0 Supersedes and is equivalent to CPCCSH3003 Assemble and install shopfront structures. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by assembling and installing one shopfront structure, incorporating a bulkhead and an opening for a roller, pivot or concertina doors, with a minimum overall height of 3.0 metres and a minimum width of 3.6 metres.

In doing this, the candidate must:

schedule shopfront work to accommodate client requirements and minimise disruption to the business operations

maintain public safety during the use of mobile scaffold, elevated work platform, power tools and equipment.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

shopfront regulations, codes and standards, in particular:

Australian Standard (AS) 2047 Windows and external glazed doors in buildings

AS 1288 Glass in buildings

organisation’s quality assurance requirements relating to the assembling and installing of shopfront structures

sustainable shopfitting practices

key features of working drawings and specifications

workplace processes and procedures and environmental requirements

characteristics, applications and limitations of materials used in shopfront structures:

acrylic

glass

aluminium

laminates

manufactured board

solid timber

workplace safety:

hierarchy of control

job safety and environmental analysis (JSEA)

safe work method statements (SWMSs)

safety data sheets (SDSs)

hazardous manual tasks

exposure to excessive noise

exposure to dust

electrical safety

emergency procedures (evacuation, location and use of firefighting equipment, first aid)

safety of public, visitors and others in the workplace

processes and techniques for assembling and installing shopfront structures and fixings

functional and operational features of hand and power tools and equipment:

air compressor and hoses

grinders

levelling equipment, including spirit levels

lifting plant

nail guns

planers

circular saws

jig saws

power drills

power leads

battery operated tools

hand saws, block plane.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be conducted in the workplace or a simulated workplace using realistic conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to:

relevant shopfront regulations, codes and Australian Standards

current workplace safety and environmental documentation

shopfront drawings and specifications, organisational policies, procedures and equipment to undertake the performance criteria and assessment requirements.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad