# Assessment Requirements for CPCSHP3009 Demolish shopfronts and bulkheads

Release: 3

Assessment Requirements for CPCSHP3009 Demolish shopfronts and bulkheads

# Modification History

| Release 3 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Performance Criteria numbering rectified and Modification History rectified. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0 Supersedes and is equivalent to CPCCSH3009 Demolish shopfronts and bulkheads. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by dismantling and demolishing a shopfront and internal cabinet.

In doing this, the candidate must:

dismantle and demolish a shopfront of a minimum of 3.6 metres high and 3.6 metres wide, including a bulkhead, glazing, door closure and joinery

dismantle one internal cabinet or fixture of a minimum of 3.6 metres high and 2.4 metres wide, which is attached to the building structure

protect surrounding structure, floor covering, existing furniture and fixtures from damage

plan and schedule the demolition work to maintain continuity of business operations.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

shopfitting regulations, codes and standards relating to shopfront and bulkhead demolition

organisation’s quality assurance requirements relating to demolition of shopfronts and bulkheads

sustainable shopfitting practices

construction and demolition terminology used in shopfitting

content of and terms, symbols and conventions used in working drawings and specifications

characteristics, applications and limitations of materials used in shopfitting components:

acrylic

glass

laminates

manufactured board

solid timber

procedures and techniques relevant to demolishing shopfronts:

calculating volumes of material for removal

non-load-bearing external walls

suspended ceilings

shopfronts and glazed sections

joinery and fixtures

high-level bulkheads

maintaining operation of existing services

workplace safety:

job safety and environmental analysis (JSEA)

safe work method statements (SWMSs)

hierarchy of control

how to identify potential hazards

safety data sheets (SDSs)

hazardous manual tasks

exposure to excessive noise

removal of asbestos

exposure to dust

hazardous substances:

lead

fibreglass

working at heights

falling objects

vibration

electrical safety

emergency procedures (evacuation, location and use of firefighting equipment, first aid)

safety of public, visitors and others in the workplace

functional and operational features of tools and equipment:

air compressors and pneumatic tools

angle grinders

elevated work platforms (EWPs)

scaffolding

power saws

power drills.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be conducted in the workplace or a simulated workplace using realistic conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to:

relevant shopfitting regulations, codes and Australian Standards

current workplace procedures, workplace safety and environmental documentation relating to demolition

shopfitting drawings and specifications, organisational policies, procedures and equipment to undertake the performance criteria and assessment requirements

digital technology, devices and software to communicate with others and to develop and save documents electronically.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad