# Assessment Requirements for CPCSHP3010 Prepare shop floors for new coverings

Release: 3

Assessment Requirements for CPCSHP3010 Prepare shop floors for new coverings

# Modification History

| Release 3 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 2 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.1. Minor edits to formatting. |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0 Supersedes and is equivalent to CPCCSH3010 Prepare shop floors for new coverings. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by removing four different types of shop floor coverings and preparing the existing surface for a new covering. Each area must be a minimum of 10 square metres.

In doing this, the candidate must:

remove three of the following surfaces once:

carpet tiles

vinyl tiles

resilient tiles

adhesive bonded carpet

parquetry with hard underlay

floating engineered floor

clear and clean the exposed surface

mix and test compounds for suitability and compatibility

apply primers, and cementitious and levelling compounds to patch and smooth the existing surface.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

shopfitting regulations, codes and standards, in particular:

Australian Standard (AS) 2455.1 Textile floor coverings – Installation practice General

AS 1884 Floor coverings – Resilient sheet and tiles – Installation practices

organisation’s quality assurance requirements relating to shop floor preparation

sustainable shopfitting practices

procedures and techniques for removing existing floor coverings and preparing shop floors for new covering:

types and methods of fixing various floor coverings

identifying and resolving relevant problems relating to floor preparation

environmental protection requirements relevant to preparing shop floors for new coverings

functional and operational features of tools and equipment:

vacuum cleaners

vinyl tile lifter

mixing drills

hand and power tools

battery operated tools

characteristics, applications and limitations of materials and products used for floor preparation:

smoothing compounds

levelling compounds

bulk fillers

repair/patching compounds

binding agents

mineral compounds

workplace safety:

job safety and environmental analysis (JSEA)

safe work method statements (SWMSs)

hierarchy of control

safety data sheets (SDSs)

hazardous manual tasks

exposure to excessive noise

removal of asbestos

exposure to dust

hazardous chemicals and substances

electrical safety

emergency procedures (evacuation, location and use of firefighting equipment, first aid)

safety of public, visitors and others in the workplace.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be conducted in the workplace or a simulated workplace using realistic conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to:

relevant shopfitting regulations, codes and Australian Standards

current workplace procedures, workplace safety and environmental documentation relating to shop floor preparation

shopfitting drawings and specifications, organisational policies, procedures and equipment to undertake the performance criteria and assessment requirements

digital technology, devices and software to communicate with others and to develop and save documents electronically.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad