# Assessment Requirements for CPCSIL4001 Supervise and manage work with products and materials generating respirable crystalline silica

Release: 1

Assessment Requirements for CPCSIL4001 Supervise and manage work with products and materials generating respirable crystalline silica

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 8.0. Newly created unit. |
| --- | --- |

# Performance Evidence

A person demonstrating competency in this unit must satisfy the requirements of the elements, performance criteria and foundation skills of this unit in addition to the specific performance and knowledge evidence described below.

Candidates must be able to:

select and supervise the application of a combination of control measures for three different work activities, such as cutting, drilling or grinding on products or materials containing crystalline silica (CS).

In doing so, the candidate must:

demonstrate compliance with selection and use of respiratory protective equipment (RPE) for all workers for the work activity

verify fit checking of RPE, training for staff in the use, maintenance and storage of RPE

verify setup, use and maintenance of plant, tools and equipment with selected control measures.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

hierarchy of control measures:

elimination

substitution

isolation

engineering controls

administrative controls

personal protective equipment (PPE)/RPE

health risks working with products and materials containing CS

health effects from inhaling respirable crystalline silica (RCS)

products containing CS, such as:

engineered stone

concrete

mortar

bricks

pavers

tiles

natural stone

cement sheeting

aerated concrete

work health and safety (WHS) regulations

Australian Standards AS/NZ 1715:2009 Selection, use and maintenance of respiratory protective equipment and AS/NZ 1716:2012 Respiratory protective devices, or their equivalent

employer responsibilities and duty of care requirements:

consultation and communication processes

WHS regulations and health monitoring requirements

personal exposure monitoring

safety information documents:

codes of practice

guidance notes

job safety analysis (JSA)

safety data sheets (SDS)

safe work method statement (SWMS)

types of silicosis based on frequency of exposure and level of dust

industries impacted by potential exposure to RCS

compliant use of a range of plant, tools and equipment used with products and materials containing high silica content

maintenance requirements on respirators for RCS and for power tools, plant and equipment

maintenance and storage requirements for RPE

RPE fit testing and fit checking requirements

manufacturer requirements

training for RPE use, maintenance and storage

housekeeping methods:

regular cleaning practices

wearing RPE during cleaning

avoid sweeping of dust

M to H Class vacuum cleaners

wet wiping

use of water filtration

dust control measures

engineering controls, including maintenance:

dust capture extraction

wet cutting methods and water suppression

respiratory protection

local exhaust ventilation

activities generating RCS health hazards and risks:

cutting

grinding

polishing

drilling

demolishing

excavating

WHS policies and procedures

reporting notifiable incidents

WHS recording, reporting and audit requirements of records

environmental guidelines regarding waste disposal of slurry mixtures and dust containment strategies

contingency planning.

# Assessment Conditions

Assessment of performance must be undertaken in the workplace or in a simulated workplace environment. Where the assessment occurs in a simulated workplace environment, the appropriate simulation(s) must reflect realistic workplace situations.

Candidates must be provided with access to:

relevant tasks or work specifications

appropriate documents, materials, tools, equipment, PPE and RPE currently approved for use in industry

relevant codes of practice, Australian Standards, relevant building legislation, industry codes, regulations and requirements of workplace policies and procedures as required by Commonwealth, state and territory regulators

relevant environmental requirements.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad