# Assessment Requirements for CPCSPS4001 Investigate and prepare swimming pool site

Release: 1

Assessment Requirements for CPCSPS4001 Investigate and prepare swimming pool site

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. New unit. It includes some content from CPCCBC4049A Apply structural principles to construction of swimming pools and spas, which has been deleted. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by preparing two sites for pool construction, one level site and one with sloping/uneven ground.

In doing this, the candidate must:

determine site contours, datum mark and finished height of pool from project plans

control risks relating to excavation work.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

regulations, standards and codes relevant to excavation for of swimming pools

relevant sections of the National Construction Code (NCC)

excavation work code of practice

Guide for working in the vicinity of overhead and underground electric lines

features of project plans and specifications

processes, procedures and techniques for:

levelling using a water level and laser level

pool excavation

installing ancillary pipework

operational and functional features of plant, tools and equipment

workplace procedures and workplace safety:

hierarchy of control

hazardous manual tasks

competency requirements for operating pumping equipment

temporary safety barriers and fences around swimming pool construction sites

workplace and environmental requirements relating to waste disposal and clean up.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be conducted in the workplace or in a simulated workplace environment.

Candidates must have access to:

regulations, standards and codes relevant to preparation and excavation of sites for swimming pools

relevant sections of the NCC

project plans, specifications and manufacturer instructions

workplace safety and environmental requirements.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad