# Assessment Requirements for CPCSPS4004 Install swimming pool and spa circulation systems and components

Release: 1

Assessment Requirements for CPCSPS4004 Install swimming pool and spa circulation systems and components

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. New unit. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by installing pipework and components for a circulation system covering one of the following:

one swimming pool

one spa

one swimming pool and spa.

Installation must include a pool pump and a filtration system.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

regulations, standards and codes relevant to installation of circulation systems for swimming pools and spas

relevant sections of the National Construction Code (NCC)

features of swimming pool and spa project plans and specifications

manufacturer instructions for circulation systems and components

properties, applications and limitations of swimming pool and spa materials, products and components for circulation systems

processes, procedures and techniques for:

construction of in-ground pools and spas

installation of above-ground pools and spas

installation and operation of swimming pool and spa circulation equipment

connecting filtration, circulation, heating and lighting systems

licensing and competency requirements for installing swimming pool and spa ancillary equipment

operational and functional features of tools and equipment

relevant sections of workplace safety requirements

workplace safety:

hierarchy of control

hazardous manual tasks

falls from heights

temporary safety barriers and fences around pools

workplace and environmental requirements relating to waste disposal and clean-up.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be conducted in the workplace or in a simulated workplace environment.

Candidates must have access to:

regulations, standards and codes relevant to swimming pools and spas

relevant sections of the NCC

project plans, specifications and manufacturer instructions

workplace safety and environmental requirements.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad