# Assessment Requirements for CPCSPS4007 Commission ancillary swimming pool and spa systems and hand over to client

Release: 1

Assessment Requirements for CPCSPS4007 Commission ancillary swimming pool and spa systems and hand over to client

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. New unit. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by:

commissioning ancillary and control systems for one of the following:

one swimming pool

one spa

one swimming pool and spa

carrying out handover to client.

The commissioning must include a:

circulation system

dosing system

filtration system

cleaning system.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

regulations, codes and standards relevant to swimming pools and spas

pool fencing requirements

pool cover requirements

operational and functional features of ancillary pool systems

heating

filtration

lighting

cleaning

features of contracts

contractual requirements for pool builder and client.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be conducted in the workplace or in a simulated workplace environment.

Candidates must have access to:

regulations, standards and codes relevant to swimming pools and spas

relevant sections of the NCC

project plans, specifications and manufacturer instructions

workplace policies and procedures relevant to project handover

workplace safety and environmental requirements.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad