# CPCSPS4007 Commission ancillary swimming pool and spa systems and hand over to client

Release: 1

CPCSPS4007 Commission ancillary swimming pool and spa systems and hand over to client

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. New unit. |
| --- | --- |

# Application

This unit specifies the skills and knowledge required to commission ancillary swimming pool and spa systems. It includes the testing of filtration, heating and lighting systems.

This unit reflects the role of those who are responsible for commissioning ancillary pool systems and finalising hand over to clients. It applies to a range of contexts:

private swimming pools

public swimming pools, including:

hydrotherapy and therapeutic exercise pools

wading and receiving pools associated with water slides

wave pools.

This unit is suitable for those using specialised knowledge to complete routine and non-routine tasks, and their own judgement to deal with predictable and sometimes unpredictable problems.

No licensing or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil.

# Unit Sector

Swimming Pool and Spa Building

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Collate project and client information. | 1.1 | Review client information to ensure client requirements have been met. |
|  |  | 1.2 | Review contractual conditions to determine final payment. |
|  |  | 1.3 | Compile client information and instructions for operation of swimming pool and spa equipment and systems. |
|  |  | 1.4 | Contact client and arrange suitable time to meet for handover. |
| 2 | Connect and test ancillary equipment. | 2.1 | Test operation of filtration, heating, lighting and cleaning control systems. |
|  |  | 2.2 | Conduct adjustment in line with pool environment, conditions and operating specifications. |
|  |  | 2.3 | Set equipment timers to accommodate pool environment and conditions. |
|  |  | 2.4 | Inspect workmanship and ensure all inclusions are supplied and fitted. |
|  |  | 2.5 | Record outcomes and complete necessary documentation. |
| 3 | Conduct client handover. | 3.1 | Confirm project completion and supply of inclusions with client. |
|  |  | 3.2 | Demonstrate operation and inform client of settings, adjustments and routine maintenance requirements. |
|  |  | 3.3 | Supply owner with swimming pool and spa equipment guarantees, warranties and manufacturer operating instructions. |

# Foundation Skills

This section describes the language, literacy, numeracy and employment skills essential to performance in this unit but not explicit in the performance criteria:

oral communication skills to instruct client on operation of ancillary pool systems

technology skills to set digital control systems.

# Unit Mapping Information

No equivalent unit.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad