# Assessment Requirements for CPCSPS4008 Install above-ground swimming pool

Release: 1

Assessment Requirements for CPCSPS4008 Install above-ground swimming pool

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. New unit. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by installing two above-ground swimming pools. The installations must involve:

differently sized and shaped above-ground swimming pools

the use of different prefabricated materials on each pool.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

regulations, standards and codes relevant to above-ground swimming pools and spas

pool fencing requirements

types and materials of pool covers

relevant sections of the National Construction Code (NCC)

manufacturer instructions for installing above-ground swimming pools

properties, applications and limitations of swimming pool and spa fabrication materials, products and components

processes, procedures and techniques for:

levelling pool and spa base

installing and assembling pools and spas

connecting filtration, recirculation, heating and lighting systems

licensing and competency requirements for installing swimming pool and spa ancillary equipment

operational and functional features of tools and equipment

relevant sections of work health and safety (WHS) Acts and regulations

workplace procedures and workplace safety:

hierarchy of control

hazardous manual tasks

temporary safety barriers and fences around pools

workplace and environmental requirements relating to waste disposal and clean-up.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be conducted in the workplace or in a simulated workplace environment.

Candidates must have access to:

regulations, standards and codes relevant to above-ground swimming pools and spas

relevant sections of the NCC

project plans, specifications and manufacturer instructions

workplace safety and environmental requirements.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad