# CPCSPS4008 Install above-ground swimming pool

Release: 1

CPCSPS4008 Install above-ground swimming pool

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. New unit. |
| --- | --- |

# Application

This unit specifies the skills and knowledge required to install variously shaped above-ground swimming pools. It includes preparing level and sloping sites and ancillary equipment for connection.

This unit applies to a range of contexts and reflects the role of those who are responsible for installation processes involving excavation and base preparation for above-ground:

private swimming pools

public swimming pools, including:

hydrotherapy and therapeutic exercise pools

wading and receiving pools associated with water slides

wave pools.

This unit is suitable for those using specialised knowledge to complete routine and non-routine tasks, and their own judgement to deal with predictable and sometimes unpredictable problems.

No licensing or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil.

# Unit Sector

Swimming Pool and Spa Building

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Plan to install above-ground swimming pool. | 1.1 | Access, read and interpret relevant information from plans, specifications, codes and standards. |
|  |  | 1.2 | Interpret and apply work health and safety and environmental requirements. |
|  |  | 1.3 | Confirm type and location of pool with client. |
|  |  | 1.4 | Calculate and order base materials and filtration components. |
|  |  | 1.5 | Determine commencement date and schedule delivery of material and components and required plant and equipment. |
|  |  | 1.6 | Apply relevant WHS regulations and codes when locating and preparing for work near existing underground and overhead services. |
|  |  | 1.7 | Determine job priorities and sequence job tasks in consultation with others on site. |
| 2 | Prepare for pool installation. | 2.1 | Select, fit and use personal protective equipment appropriate for the activity. |
|  |  | 2.2 | Select and check tools and equipment for serviceability. |
|  |  | 2.3 | Set out and mark pool position and finish height. |
|  |  | 2.4 | Remove grass and topsoil and excavate to the determined depth and level. |
|  |  | 2.5 | Fill, spread, screed and compact base to specified level. |
| 3 | Assemble pool. | 3.1 | Determine starting point and prepare pool base and wall components. |
|  |  | 3.2 | Assemble wall material following manufacturer instructions. |
|  |  | 3.3 | Complete all fixtures and mask to protect internal lining. |
|  |  | 3.4 | Install, without damage, internal pool liner in accordance with manufacturer instructions. |
|  |  | 3.5 | Secure lining and finish pool capping. |
| 4 | Install recirculation system. | 4.1 | Measure, locate and fit skimmer and return. |
|  |  | 4.2 | Locate and install pump, plumbing pipes and filtration system accordance with specifications. |
|  |  | 4.3 | Fill pool and check pool and ancillary equipment for leaks. |
| 5 | Clean up site. | 5.1 | Clear the work area and reuse, recycle or dispose of materials in accordance with workplace and environmental requirements. |
|  |  | 5.2 | Clean tools and equipment, check for serviceability, report any damage or faults and store and secure. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

No equivalent unit.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad