# Assessment Requirements for CPCSPS4011 Install precast concrete swimming pools

Release: 1

Assessment Requirements for CPCSPS4011 Install precast concrete swimming pools

# Modification History

| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. New unit. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by installing one precast concrete swimming pool.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

regulations, standards, codes and permits relevant to installation of precast concrete swimming pools:

National Code of Practice for Precast Tilt-Up and Concrete Elements in Building Construction

Australian Standards

relevant sections of the National Construction Code (NCC)

precast pool project plans and specifications

properties, applications and limitations of precast concrete swimming pool materials and swimming pool products and components

processes and procedures for:

pool excavation

types of base preparations – screed and compact base, concrete slab

lifting, setting and levelling precast concrete swimming pools

connecting filtration and circulation systems

licensing and competency requirements for installing swimming pool and spa ancillary equipment

operational and functional features of tools and equipment

workplace safety:

hierarchy of control

temporary safety barriers and fences around pools

hazardous manual tasks

competency requirements for operating pumping equipment

types, advantages and environmental efficiencies of swimming pool and spa covers

workplace and environmental requirements relating to waste disposal and clean-up.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be conducted in the workplace or in a simulated workplace environment.

Candidates must have access to:

regulations, standards and codes relevant to swimming pools and spas

relevant sections of the NCC

project plans, specifications and manufacturer instruction

workplace safety and environmental requirements.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad