# Assessment Requirements for CPCSUS5002 Develop action plans to retrofit existing buildings for energy efficiency

Release: 2

Assessment Requirements for CPCSUS5002 Develop action plans to retrofit existing buildings for energy efficiency

# Modification History

| Release 2 | Updated reference to general construction induction training program. |
| --- | --- |
| Release 1 | This version first released with CPC Construction, Plumbing and Services Training Package Release 5.0. Supersedes and equivalent to CPCSUS5002A Develop action plans to retrofit existing buildings for energy efficiency. Updated to meet the Standards for Training Packages 2012. |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by developing an action plan to retrofit and improve the energy efficiency of an existing residential or commercial building up to a maximum of three storeys.

In doing this, the candidate must:

determine class, type, condition and use of a building

produce energy efficiency comparison of an existing building and retrofitted building

produce costing, timelines and products and materials for the retrofit project

source applications for permits and service connections

identify limitations and obstacles to retrofit and determine solutions

develop a process for project risk management.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

building science principles and their application to the retrofitting of existing buildings for improved energy efficiency

environmental and sustainability legislation, requirements, policies, standards and guidelines:

environmental protection

biodiversity conservation

national, state and territory and local government building codes and standards

the National Construction Code (NCC)

organisational policies and procedures, quality systems and best practice approaches

addressing retrofitting expectations and benefits:

improved levels of comfort for the occupants

increased air changes per hour to improve indoor air quality

increased durability of the building

potential for improved return on investment

reduction in and prevention of mould

reduction in heating and cooling costs

fire resistance and resistance from bushfire attack

risks of retrofitting:

budget constraints

condition of existing building

local council planning provisions

land overlays and requirements relating to neighbourhood character

orientation of the existing building

original design and construction of existing building

position of existing services to the building

presence of protected vegetation adjacent to existing building

protection of existing building under heritage listing

proximity of other buildings or structures

sealing the building envelope:

air pressure differentials

combustion

moisture and mould

poor indoor air quality

properties, characteristics and limitations of selected building materials and components

processes, procedure and techniques of:

energy assessment to develop energy efficient strategies

calculating using measurements and formulas

retrofitting strategies:

light fittings

smart technology or motion sensors

insulation

sealing building envelope

solar photovoltaic systems

energy sources

sustainability principles and concepts

workplace safety:

hierarchy of control

hazardous manual tasks

working at heights

project plans, specifications and working drawings

general construction terminology.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment can be undertaken in the workplace or in a simulated workplace environment.

A simulated environment is one that realistically replicates workplace conditions, materials and equipment, interactions with others and workplace irregularities, and which meets industry standards for safety and environmental practices.

Candidates must have access to:

current and appropriate environmental and sustainability legislation, requirements, policies, standards and guidelines

government building and environmental requirements, codes and standards

project plans, specifications and material manufacturer’s specifications

technology, applications and software systems for researching, extracting, analysing and presenting information, interpreting data and developing documents and reports to facilitate the development of an action plan to retrofit an existing building for energy efficiency.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad