# CPCCSC2001A Safely handle and use scaffolding tools and equipment

Release: 1

CPCCSC2001A Safely handle and use scaffolding tools and equipment

# Modification History

Not Applicable

# Unit Descriptor

| Unit descriptor | This unit of competency specifies the outcomes required to safely move, locate, inspect, service and store scaffolding together with associated tools and equipment, in order to assist project planning and ensure OHS requirements and manufacturer specifications are met. It includes delivering, selecting, positioning and maintaining scaffolding tools and equipment. |
| --- | --- |

# Application of the Unit

| Application of the unit | This unit supports the attainment of skills and knowledge to safely move, service and store a range of scaffolding materials and equipment, which includes working with others and as a member of a team. |
| --- | --- |

# Licensing/Regulatory Information

Not Applicable

# Pre-Requisites

| Prerequisite units |  |  |
| --- | --- | --- |
|  | CPCCOHS2001A | Apply OHS requirements, policies and procedures in the construction industry |

# Employability Skills Information

| Employability skills | This unit contains employability skills. |
| --- | --- |

# Elements and Performance Criteria Pre-Content

| Elements describe the essential outcomes of a unit of competency. | Performance criteria describe the performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the required skills and knowledge section and the range statement. Assessment of performance is to be consistent with the evidence guide. |
| --- | --- |

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| 1. Plan and prepare. | 1.1. Work instructions, including plans, specifications, quality requirements and operational details are obtained from relevant information, confirmed and applied to the scope of work performed. 1.2. Safety (OHS) requirements are followed in accordance with safety plans and policies. 1.3. Signage and barricade requirements are identified and implemented. 1.4. Plant, tools and equipment selected to carry out tasks are consistent with the requirements of the job, checked for serviceability and any faults or concerns regarding quality requirements are rectified or reported prior to commencement. 1.5. Materials appropriate to the work application are identified, obtained, prepared, safely handled and located ready for use. 1.6. Environmental requirements are identified for the project in accordance with environmental plans and statutory and legislative authority obligations and applied. |
| 2. Handle, sort and stack scaffolding equipment and associated tools. | 2.1. Tools and equipment are safely and effectively used according to manufacturer recommendations and state or territory OHS requirements. 2.2. Scaffolding equipment is moved to specified location, applying safe manual and mechanical handling techniques. 2.3. Scaffolding equipment is sorted to suit material type and size, and stacked for ease of identification and retrieval for task sequence and job location in accordance with job specifications. 2.4. Scaffolding equipment and associated tools are protected against physical, chemical, environmental and water damage and stored clear of access ways, for ease of identification, retrieval and distribution. |
| 3. Prepare for mechanical handling of materials. | 3.1. Scaffolding equipment is stacked/banded for mechanical handling in accordance with the type of material and plant or equipment to be used. 3.2. Scaffolding equipment is loaded, unloaded, moved or located at specified location assisting the forklift driver, rigger and dogman. 3.3. Scaffolding equipment and tools are safely handled with mechanical lifting devices. |
| 4. Clean up. | 4.1. Work area is cleared and materials disposed of, reused or recycled in accordance with legislation, regulations, codes of practice and job specification. 4.2. Plant, tools and equipment are cleaned, checked, maintained and stored in accordance with manufacturer recommendations and standard work practices. |

# Required Skills and Knowledge

REQUIRED SKILLS AND KNOWLEDGE

This section describes the skills and knowledge required for this unit.

Required skills

Required skills for this unit are: communication skills to: determine requirements follow instructions read and interpret: documentation from a variety of sources drawings and specifications report faults use language and concepts appropriate to cultural differences use and interpret non-verbal communication, such as hand signals identifying and accurately reporting to appropriate personnel any faults in tools, equipment or materials numeracy skills to apply measurements and calculations organisational skills, including the ability to plan and set out work teamwork skills to work with others to action tasks and relate to people from a range of cultural and ethnic backgrounds and with varying physical and mental abilities technological skills to: use a range of mobile technology, such as two-way radio and mobile phones voice and hand signals to access and understand site-specific instructions.

Required knowledge

Required knowledge for this unit is: general construction terminology job safety analysis (JSA) and safe work method statements material safety data sheets (MSDS) materials storage and environmentally friendly waste management plans, drawings and specifications plant, tools and equipment types, characteristics, uses and limitations processes for the calculation of material requirements quality requirements relevant Acts, regulations and codes of practice scaffolding equipment scaffolding handling techniques workplace and equipment safety requirements.

# Evidence Guide

| EVIDENCE GUIDE |  |
| --- | --- |
| The evidence guide provides advice on assessment and must be read in conjunction with the performance criteria, required skills and knowledge, range statement and the Assessment Guidelines for the Training Package. |  |
| Overview of assessment | This unit of competency could be assessed in the workplace or a close simulation of the workplace environment, provided that simulated or project-based assessment techniques fully replicate construction workplace conditions, materials, activities, responsibilities and procedures. |
| Critical aspects for assessment and evidence required to demonstrate competency in this unit | A person who demonstrates competency in this unit must be able to provide evidence of the ability to: locate, interpret and apply of relevant information, standards and specifications comply with site safety plan and OHS legislation, regulations and codes of practice applicable to workplace operations comply with organisational policies and procedures, including quality requirements safely and effectively use tools, plant and equipment communicate and work effectively and safely with others safely handle scaffolding equipment and associated tools for all mandatory equipment and tools specified in the range statement, following OHS regulations. |
| Context of and specific resources for assessment | This competency is to be assessed using standard and authorised work practices, safety requirements and environmental constraints. Assessment of essential underpinning knowledge will usually be conducted in an off-site context. Assessment is to comply with relevant regulatory or Australian standards' requirements. Resource implications for assessment include: an induction procedure and requirement realistic tasks or simulated tasks covering the mandatory task requirements relevant specifications and work instructions tools and equipment appropriate to applying safe work practices support materials appropriate to activity workplace instructions relating to safe work practices and addressing hazards and emergencies material safety data sheets research resources, including industry related systems information. Reasonable adjustments for people with disabilities must be made to assessment processes where required. This could include access to modified equipment and other physical resources, and the provision of appropriate assessment support. |
| Method of assessment | Assessment methods must: satisfy the endorsed Assessment Guidelines of the Construction, Plumbing and Services Training Package include direct observation of tasks in real or simulated work conditions, with questioning to confirm the ability to consistently identify and correctly interpret the essential underpinning knowledge required for practical application reinforce the integration of employability skills with workplace tasks and job roles confirm that competency is verified and able to be transferred to other circumstances and environments. Validity and sufficiency of evidence requires that: competency will need to be demonstrated over a period of time reflecting the scope of the role and the practical requirements of the workplace where the assessment is part of a structured learning experience the evidence collected must relate to a number of performances assessed at different points in time and separated by further learning and practice, with a decision on competency only taken at the point when the assessor has complete confidence in the person's demonstrated ability and applied knowledge all assessment that is part of a structured learning experience must include a combination of direct, indirect and supplementary evidence. Assessment processes and techniques should as far as is practical take into account the language, literacy and numeracy capacity of the candidate in relation to the competency being assessed. Supplementary evidence of competency may be obtained from relevant authenticated documentation from third parties, such as existing supervisors, team leaders or specialist training staff. |

# Range Statement

| RANGE STATEMENT |  |
| --- | --- |
| The range statement relates to the unit of competency as a whole. It allows for different work environments and situations that may affect performance. Bold italicised wording, if used in the performance criteria, is detailed below. Essential operating conditions that may be present with training and assessment (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) may also be included. |  |
| Information includes: | diagrams or sketches instructions issued by authorised organisational or external personnel manufacturer specifications and instructions, where specified MSDS memos regulatory and legislative requirements pertaining to handling and using scaffolding tools and equipment relevant Australian standards safe work procedures relating to handling and using scaffolding tools and equipment signage verbal, written and graphical instructions work bulletins work schedules, plans and specifications. |
| Scope of work: | planning and preparation includes work site inspection, equipment defect identification, assessment of conditions and hazards, and determination of work requirements handling methods for scaffolding include manual handling; assisting the forklift driver, rigger and dogman; and basic mechanical lifting devices and gin wheels mechanical lifting devices include pallet trolley, forklift, barrow hoist or teleporter scaffolding equipment types include tubes, planks, sole boards, timber, metal, stairs, connectors and couplers, toe boards, bolts, frames, ledgers, transoms, bracing, clips and fittings, brick guards, standards, screw jacks, adjustable wheels, steel wire rope, fibre ropes, ladder beams, catch platforms, prefabricated toner scaffold, bracket scaffolds and ropes stacking and storage are to include pallets, stillage and banding. |
| Safety (OHS) is to be in accordance with state and territory legislation and regulations and project safety plan and may include: | emergency procedures, including extinguishing fires, organisational first aid requirements and evacuation handling activities that may require the assistance of others or the use of manual or mechanical lifting devices where size, weight or other issues, such as a disability are a factor hazard control hazardous materials and substances, including cement and curing agents organisational first aid PPE prescribed under legislation, regulations and workplace policies and practices safe operating procedures, including the conduct of operational risk assessment and treatments associated with: earth leakage boxes lighting power cables, including overhead service trays, cables and conduits restricted access barriers surrounding structures traffic control trip hazards working at heights work site visitors and the public working in confined spaces working in proximity to others use of firefighting equipment use of tools and equipment workplace environmental requirements and safety. |
| Tools and equipment: | include: hammers ladders nips pallet trolleys planks, including laminated spanners spirit levels tape measures may include: cutters forklifts hammer drills materials hoists shovels sledge hammers wheelbarrows. |
| Quality requirements include relevant regulations, including: | Australian standards internal company quality policy and standards manufacturer specifications workplace operations and procedures. |
| Environmental requirements include: | clean-up management dust and noise vibration waste management. |
| Statutory and regulatory authorities include: | federal, state and local authorities administering the applicable Acts, regulations and codes of practice. |

# Unit Sector(s)

| Unit sector | Construction |
| --- | --- |

# Functional area

| Functional area |  |
| --- | --- |