# CPCCSV6008A Apply building codes and standards to buildings up to three storeys

Release: 1

CPCCSV6008A Apply building codes and standards to buildings up to three storeys

# Modification History

Not Applicable

# Unit Descriptor

| Unit descriptor | This unit of competency specifies the outcomes required to ensure the building process complies with the Building Code of Australia (BCA) and relevant Australian standards. It applies specifically to buildings up to three storeys and not exceeding a maximum floor area of 2000 square metres. It includes the evaluation and interpretation of building requirements, classification of buildings according to BCA criteria, and identification of various strategies for compliance. |
| --- | --- |

# Application of the Unit

| Application of the unit | This unit of competency supports the attainment of the understanding and skills to apply building codes and standards to buildings up to three storeys within the context of the relevant legislation, the BCA and Australian standards. |
| --- | --- |

# Licensing/Regulatory Information

Not Applicable

# Pre-Requisites

| Prerequisite units | Nil |  |
| --- | --- | --- |

# Employability Skills Information

| Employability skills | This unit contains employability skills. |
| --- | --- |

# Elements and Performance Criteria Pre-Content

| Elements describe the essential outcomes of a unit of competency. | Performance criteria describe the performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the required skills and knowledge section and the range statement. Assessment of performance is to be consistent with the evidence guide. |
| --- | --- |

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| 1. Analyse the purpose and basic intent of the BCA. | 1.1. Objectives of the BCA are analysed for construction in residential and commercial buildings. 1.2. Conditions of the BCA and the purpose of the respective components are evaluated and documented for relevant building categories and building surveying procedures. 1.3. Deemed-to-satisfy (DTS) concept for construction to meet BCA requirements is evaluated and documented. |
| 2. Locate and interpret code or standard requirements that are applicable to particular projects. | 2.1. Clauses from the BCA that apply to particular projects are identified and recorded. 2.2. Prescriptive requirements of relevant BCA clauses are determined. 2.3. Standards that are referenced in the BCA are identified and recorded. 2.4. Special requirements that may apply to specific areas are identified and recorded. |
| 3. Classify buildings. | 3.1. Nature of a building is determined, with regard to use and arrangement. 3.2. BCA criteria are applied to determine the defined classification. 3.3. BCA requirements are interpreted for multiple classifications. |
| 4. Apply solutions to construction problems for compliance with the BCA. | 4.1. Criteria that will ensure construction methods comply with the BCA are determined. 4.2. Alternative approaches to a construction problem that will comply with the requirements of the BCA are reported. 4.3. Appropriate assessment methods used to determine whether a building solution complies with performance requirements and/or DTS provisions of the BCA are chosen and applied. |

# Required Skills and Knowledge

REQUIRED SKILLS AND KNOWLEDGE

This section describes the skills and knowledge required for this unit.

Required skills

Required skills for this unit are: ability to recognise procedures, follow instructions, respond to change and contribute to workplace responsibilities, such as current work site environmental and sustainability frameworks or management systems communication skills to: enable clear and direct communication, using questioning to identify and confirm requirements, share information, listen and understand evaluate own actions to make judgements about performance and necessary improvements read and interpret: BCA Australian standards other relevant documentation use language and concepts appropriate to cultural differences use and interpret non-verbal communication written skills to: document building requirements report alternative approaches to construction problems numeracy skills to analyse and apply complex mathematical information teamwork skills to work effectively with others.

Required knowledge

Required knowledge for this unit is: access requirements for people with a disability and the requirements of the Disability Discrimination Act (DDA) with regard to access authorities and powers of a building surveyor BCA and primary referenced Australian standards criteria for Class 2 to 9 buildings and Guide to BCA design, construction and structural principles of buildings DTS provisions nature of materials and effect on performance processes for the administration and preparation of documentation processes for the interpretation of reports, working drawings and specifications relevant federal, state or territory legislation and local government policy and procedures research methods terminology and definitions in relevant documentation.

# Evidence Guide

| EVIDENCE GUIDE |  |
| --- | --- |
| The evidence guide provides advice on assessment and must be read in conjunction with the performance criteria, required skills and knowledge, range statement and the Assessment Guidelines for the Training Package. |  |
| Overview of assessment | This unit of competency could be assessed in the workplace or a close simulation of the workplace environment, provided that simulated or project-based assessment techniques fully replicate construction workplace conditions, materials, activities, responsibilities and procedures. |
| Critical aspects for assessment and evidence required to demonstrate competency in this unit | A person who demonstrates competency in this unit must be able to provide evidence of the ability to: comply with OHS regulations applicable to workplace operations apply organisational management policies and procedures, including quality assurance requirements where appropriate classify building construction through the evaluation and interpretation of compliance with the BCA, and associated reporting of data, findings, recommendations and strategies for at least one residential building project and one commercial building project or equivalent in compliance with relevant legislation provide reports to appropriate body/individual as determined by the project brief. |
| Context of and specific resources for assessment | This competency is to be assessed using standard and authorised work practices, safety requirements and environmental constraints. Assessment of essential underpinning knowledge will usually be conducted in an off-site context. Assessment is to comply with relevant regulatory or Australian standards' requirements. Resource implications for assessment include: an induction procedure and requirement realistic tasks or simulated tasks covering the mandatory task requirements relevant specifications and work instructions tools and equipment appropriate to applying safe work practices support materials appropriate to activity workplace instructions relating to safe work practices and addressing hazards and emergencies material safety data sheets research resources, including industry related systems information. Reasonable adjustments for people with disabilities must be made to assessment processes where required. This could include access to modified equipment and other physical resources, and the provision of appropriate assessment support. |
| Method of assessment | Assessment methods must: satisfy the endorsed Assessment Guidelines of the Construction, Plumbing and Services Training Package include direct observation of tasks in real or simulated work conditions, with questioning to confirm the ability to consistently identify and correctly interpret the essential underpinning knowledge required for practical application reinforce the integration of employability skills with workplace tasks and job roles confirm that competency is verified and able to be transferred to other circumstances and environments. Validity and sufficiency of evidence requires that: competency will need to be demonstrated over a period of time reflecting the scope of the role and the practical requirements of the workplace where the assessment is part of a structured learning experience the evidence collected must relate to a number of performances assessed at different points in time and separated by further learning and practice, with a decision on competency only taken at the point when the assessor has complete confidence in the person's demonstrated ability and applied knowledge all assessment that is part of a structured learning experience must include a combination of direct, indirect and supplementary evidence. Assessment processes and techniques should as far as is practical take into account the language, literacy and numeracy capacity of the candidate in relation to the competency being assessed. Supplementary evidence of competency may be obtained from relevant authenticated documentation from third parties, such as existing supervisors, team leaders or specialist training staff. |

# Range Statement

| RANGE STATEMENT |  |
| --- | --- |
| The range statement relates to the unit of competency as a whole. It allows for different work environments and situations that may affect performance. Bold italicised wording, if used in the performance criteria, is detailed below. Essential operating conditions that may be present with training and assessment (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) may also be included. |  |
| Construction in residential and commercial buildings includes: | compliance with relevant legislation, design specifications, maintenance specifications, relevant Australian standards evaluation, interpretation and adherence to legislative requirements for BCA Class 2 to 9 buildings. |
| Building categories include: | residential, commercial and industrial medium rise buildings and wide span buildings limited to three storeys and a maximum floor area not exceeding 2000 square metres. |
| Building surveying procedures include: | mechanical, structural and electrical and may include other services. |

# Unit Sector(s)

| Unit sector | Construction |
| --- | --- |

# Co-requisite units

| Co-requisite units | Nil |  |
| --- | --- | --- |

# Functional area

| Functional area |  |
| --- | --- |