# CPCPMS3015A Install and test ducting systems

Release: 1

CPCPMS3015A Install and test ducting systems

# Modification History

Not Applicable

# Unit Descriptor

| Unit descriptor | This unit of competency specifies the outcomes required to install and test ducting systems used for ventilation systems, heating and/or cooling systems, and exhaust systems. |
| --- | --- |

# Application of the Unit

| Application of the unit | Site location for work application may be either domestic or commercial and may be a new work site or an existing structure being renovated, extended, restored or maintained. |
| --- | --- |

# Licensing/Regulatory Information

Not Applicable

# Pre-Requisites

| Prerequisite units |  |  |
| --- | --- | --- |
|  | CPCPCM2023A | Carry out OHS requirements |

# Employability Skills Information

| Employability skills | This unit contains employability skills. |
| --- | --- |

# Elements and Performance Criteria Pre-Content

| Elements describe the essential outcomes of a unit of competency. | Performance criteria describe the performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the required skills and knowledge section and the range statement. Assessment of performance is to be consistent with the evidence guide. |
| --- | --- |

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| 1. Prepare for work. | 1.1. Plans and specifications are obtained. 1.2. Safety (OHS) requirements associated with installing and testing ducting systems, and workplace environmental requirements, are adhered to throughout the work. 1.3. Quality assurance requirements are identified and adhered to in accordance with workplace requirements. 1.4. Tasks are planned and sequenced in conjunction with others involved in or affected by the work and statutory and regulatory authority requirements. 1.5. Tools and equipment, including personal protective equipment, are selected and checked for serviceability. 1.6. Work area is prepared to support efficient installation and testing of ducting systems. |
| 2. Identify system requirements. | 2.1. Quantity and type of ducting system materials, including in-duct equipment, are calculated from plans, specifications and relevant information. 2.2. Allowances for fabrication or assembly are determined and transferred. 2.3. Materials are identified, ordered and collected in accordance with workplace procedures. 2.4. Materials and equipment are checked for compliance with standards, docket and order form, and acceptable condition and faults are reported. |
| 3. Install and insulate duct system. | 3.1. System is set out to comply with plans and specifications. 3.2. Duct supports and fixings are positioned to comply with plans, specifications and manufacturer recommendations. 3.3. Duct work is installed in accordance with plans and specifications. 3.4. Circumferential joints are assembled and sealed in accordance with plans, specifications and manufacturer recommendations. 3.5. Duct system is installed in specified location, without damage or distortion to surrounding environment or other services and in accordance with standards. 3.6. Insulation materials are fixed in accordance with plans and specifications. 3.7. Insulation materials are installed in specified location without damage to surrounding environment and in accordance with plans, specifications, standards and manufacturer recommendations. 3.8. Diffusers and terminal devices are installed in accordance with plans and specifications and with no damage to ceiling or finished surfaces. |
| 4. Test duct work system. | 4.1. Test requirements are determined from plans and specifications. 4.2. Appropriate test equipment is selected for specified tests. 4.3. Duct system is tested under pressure in accordance with instructions and workplace procedures. 4.4. Leak sources are identified and repaired using specified procedures and materials, to ensure correct flow operation. 4.5. Details of test data are recorded in format required by the specification. |
| 5. Clean up. | 5.1. Work area is cleared and materials disposed of or recycled in accordance with state and territory legislation and workplace procedures. 5.2. Tools and equipment are cleaned, checked, maintained and stored in accordance with manufacturer recommendations and workplace procedures. 5.3. Documentation is completed in accordance with workplace requirements. |

# Required Skills and Knowledge

REQUIRED SKILLS AND KNOWLEDGE

This section describes the skills and knowledge required for this unit.

Required skills

Required skills for this unit are: communication skills to: access information determine requirements enable clear and direct communication, using questioning to identify and confirm requirements, share information, listen and understand follow instructions plan and sequence tasks with others report faults read and interpret: documentation from a variety of sources drawings and specifications use language and concepts appropriate to cultural differences use and interpret non-verbal communication, such as hand signals written skills to: complete workplace documentation document ducting system test identifying and accurately reporting to appropriate personnel any faults in tools, equipment or materials installing, insulating and testing ducting for ventilation, heating, cooling and exhaust systems, including in-duct equipment numeracy skills to apply measurements and calculations organisational skills, including the ability to plan and set out work teamwork skills to work with others to action tasks and relate to people from a range of cultural and ethnic backgrounds and with varying physical and mental abilities technological skills to: access and understand site-specific instructions in a variety of media use mobile communication technology.

Required knowledge

Required knowledge for this unit is: applicable Australian standards application of flow rates, pressure and volume principles to testing procedures characteristics of materials used in the system being tested electrical and electronic principles and safety requirements job safety analysis (JSA) and safe work method statements (SWMS) levelling and alignment processes OHS regulations relevant to the work activity personal protective equipment requirements and use processes of installing, insulating and testing ducting SI system of measurement statutory and authority requirements system types and identification of system components techniques for setting out, assembling, fixing and jointing duct work systems and components, including insulation and acoustic materials types of repairs for detected leaks in the duct work system.

# Evidence Guide

| EVIDENCE GUIDE |  |
| --- | --- |
| The evidence guide provides advice on assessment and must be read in conjunction with the performance criteria, required skills and knowledge, range statement and the Assessment Guidelines for the Training Package. |  |
| Overview of assessment | This unit of competency could be assessed in the workplace or a close simulation of the workplace environment providing that simulated or project-based assessment techniques fully replicate plumbing and services workplace conditions, materials, activities, responsibilities and procedures. |
| Critical aspects for assessment and evidence required to demonstrate competency in this unit | A person who demonstrates competency in this unit must be able to provide evidence of: locating, interpreting and applying relevant information, standards and specifications to install and test small ducting systems applying safety requirements throughout the work sequence, including the use of personal protective clothing and equipment as a minimum the ability to, given the plans and specifications, install, insulate, test and balance from a plenum box or chamber a supply of heated air to three outlet grills; the installation shall incorporate hard and flexible duct work, including one transition piece and dampeners, ensuring: correct identification of requirements and details of proposed installation correct selection and use of appropriate processes, tools and equipment completing all work to specification compliance with regulations, standards and organisational quality procedures and processes communicating and working effectively and safely with others. |
| Context of and specific resources for assessment | This competency is to be assessed using standard and authorised work practices, safety requirements and environmental constraints. Assessment of essential underpinning knowledge will usually be conducted in an off-site context. Assessment is to comply with relevant regulatory or Australian standards' requirements. Resource implications for assessment include: an induction procedure and requirement realistic tasks or simulated tasks covering the minimum task requirements relevant specifications and work instructions tools and equipment appropriate to applying safe work practices support materials appropriate to activity workplace instructions relating to safe working practices and addressing hazards and emergencies material safety data sheets research resources, including industry related systems information. Reasonable adjustments for people with disabilities must be made to assessment processes where required. This could include access to modified equipment and other physical resources, and the provision of appropriate assessment support. |
| Method of assessment | Assessment methods must: satisfy the endorsed Assessment Guidelines of the Construction, Plumbing and Services Training Package include direct observation of tasks in real or simulated work conditions, with questioning to confirm the ability to consistently identify and correctly interpret the essential underpinning knowledge required for practical application reinforce the integration of employability skills with workplace tasks and job roles confirm that competency is verified and able to be transferred to other circumstances and environments. Validity and sufficiency of evidence requires that: competency will need to be demonstrated over a period of time reflecting the scope of the role and the practical requirements of the workplace where the assessment is part of a structured learning experience the evidence collected must relate to a number of performances assessed at different points in time and separated by further learning and practice, with a decision on competency only taken at the point when the assessor has complete confidence in the person's demonstrated ability and applied knowledge all assessment that is part of a structured learning experience must include a combination of direct, indirect and supplementary evidence. Assessment processes and techniques should as far as is practical take into account the language, literacy and numeracy capacity of the candidate in relation to the competency being assessed. Supplementary evidence of competency may be obtained from relevant authenticated documentation from third parties, such as existing supervisors, team leaders or specialist training staff. |

# Range Statement

| RANGE STATEMENT |  |
| --- | --- |
| The range statement relates to the unit of competency as a whole. It allows for different work environments and situations that may affect performance. Bold italicised wording, if used in the performance criteria, is detailed below. Essential operating conditions that may be present with training and assessment (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) may also be included. |  |
| Safety (OHS) is to be in accordance with commonwealth, state and territory legislation and regulations and may include: | handling of materials hazard control personal protective clothing and equipment prescribed under legislation, regulations and workplace policies and practices safe operating procedures, including recognising and preventing hazards associated with: hazardous materials and substances service lines surrounding structures and facilities trip hazards use of tools and equipment work site visitors and the public working at heights working in proximity to others use of firefighting equipment use of first aid equipment workplace environment and safety. |
| Environmental requirements are to cover: | clean-up protection ozone protection waste management. |
| Quality assurance requirements may include: | Environment Protection Authority (EPA) internal company quality assurance policy and risk management strategy International Standards Organisation site safety plan workplace operations and procedures. |
| Statutory and regulatory authorities include: | state or territory statutory authority statutory gasfitting authority statutory plumbing authority. |
| Tools and equipment may include: | hand and power tools in-duct equipment, including: fire dampers noise attenuation fittings volume control dampers ladders lifting and load shifting equipment, including: chain blocks elevated work platforms forklifts hand trolleys hoists and jacks rollers scaffolds measuring equipment test equipment, including: manometers micro-manometers. |
| Ducting system materials: | include: diffusers ducting fixings and supports in-duct equipment insulation joints plenum box and chamber terminal devices may be: flexible sheet metal a combination. |
| Information may include: | charts and hand drawings diagrams or sketches instructions issued by authorised organisational or external personnel manufacturer specifications and instructions material safety data sheets (MSDS) memos organisation work specifications and requirements regulatory and legislative requirements, particularly those pertaining to: building codes OHS and environmental requirements plumbing regulations relevant Australian standards safe work procedures relating to installing and testing ducting heaters signage verbal, written and graphical instructions work bulletins work schedules, plans and specifications. |
| Materials: | may include: ducting: fixings and supports sheet metal: flexible combination in-duct fittings: plastic sheet metal insulation insulation and acoustic materials may be: acoustic and non-acoustic materials externally insulated fibreglass tissue factory bonded to the insulation flexible aluminium laminate fabric perforated double-sided aluminium foil factory bonded to the insulation perforated zincanneal or other metal sheet fixed in the duct so that continuous insulation is obtained resin-bonded mineral wool or glass fibre in faced or unfaced semi-rigid batt or board form, weight 20 to 100kg and m3 sheet materials surface facings of PVC-coated fibreglass mesh factory bonded to the insulation thermal and acoustic insulation for duct work and air handling equipment, handling air between 2 and 65°C thermal insulation and sound absorption materials of resin-bonded mineral wool or glass fibre in unbound flexible blanket form, weight 20 to 65 kg and m3. |
| Fault reporting: | may be written or verbal is to be in accordance with company's workplace procedures. |
| Diffusers and terminal devices include: | combined diffusers control devices cushion heads grills light fittings outlets taken directly from duct and on flexible branch pressure-reducing devices registers variable air volume (VAV) boxes. |

# Unit Sector(s)

| Unit sector | Plumbing and services |
| --- | --- |

# Co-requisite units

| Co-requisite units | Nil |  |
| --- | --- | --- |

# Functional area

| Functional area |  |
| --- | --- |