# CPCPMS3032A Select and fit insulation and sheathing

Release 1

CPCPMS3032A Select and fit insulation and sheathing

# Modification History

Prerequisite unit updated

Changes to performance criteria, required skills, range statement and critical aspects

Not equivalent to CPCPMS3012A

# Unit Descriptor

This unit of competency specifies the outcomes required to install insulating sheathing on hot and cold piping, fittings and vessels. It includes the selection of insulation materials.

# Application of the Unit

Site location for work application may be either domestic or commercial and may be a new work site or an existing structure being renovated, extended, restored or maintained.

# Licensing/Regulatory Information

In some jurisdictions, this unit of competency may form part of accreditation, licensing, legislative, regulatory or certification requirements.

# Pre-Requisites

| CPCPCM2043A | Carry out WHS requirements |
| --- | --- |

# Employability Skills Information

This unit contains employability skills.

# Elements and Performance Criteria Pre-Content

| Elements describe the essential outcomes of a unit of competency. | Performance criteria describe the required performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the required skills and knowledge and/or the range statement. Assessment of performance is to be consistent with the evidence guide. |
| --- | --- |

# Elements and Performance Criteria

| 1 | Prepare for work. | 1.1 | Plans and specifications are obtained. |
| --- | --- | --- | --- |
|  |  | 1.2 | Work health and safety (WHS) and environmental requirements associated with selecting and installing insulating sheathing are adhered to throughout the work. |
|  |  | 1.3 | Quality assurance requirements are identified and adhered to according to workplace requirements. |
|  |  | 1.4 | Tasks are planned and sequenced in conjunction with others involved in or affected by the work and statutory and regulatory authorities’ requirements. |
|  |  | 1.5 | Tools and equipment, including personal protective equipment, are selected and checked for serviceability. |
|  |  | 1.6 | Work area is prepared to support efficient selection and installation of insulating sheathing. |

| 2 | Identify insulation requirements. | 2.1 | Insulation materials are selected that comply with plans, specifications and relevant information. |
| --- | --- | --- | --- |
|  |  | 2.2 | Quantity and type of materials required are calculated from plans and specifications. |
|  |  | 2.3 | Allowances for fabrication and assembly are determined. |
|  |  | 2.4 | Materials are identified, ordered and collected according to workplace procedures. |
|  |  | 2.5 | Materials are checked for compliance with docket and order form and for acceptable condition, and faults are reported. |

| 3 | Install insulation. | 3.1 | Surfaces to be insulated are cleaned of dirt, rust, scale and grease. |
| --- | --- | --- | --- |
|  |  | 3.2 | Insulating materials, including sheathing, are installed according to plans and specifications. |
|  |  | 3.3 | Vapour barriers are applied to suit job requirements. |
|  |  | 3.4 | Sustainability principles and concepts are applied throughout the installation. |

| 4 | Clean up. | 4.1 | Work area is cleared and materials disposed of, reused or recycled according to legislation, regulations, codes of practice and job specification. |
| --- | --- | --- | --- |
|  |  | 4.2 | Tools and equipment are cleaned, checked, maintained and stored according to manufacturer recommendations and workplace procedures. |
|  |  | 4.3 | Documentation is completed according to workplace requirements. |

# Required Skills and Knowledge

This section describes the skills and knowledge required for this unit.

Required skills

communication skills to: access information determine requirements enable clear and direct communication, using questioning to identify and confirm requirements, share information, listen and understand follow instructions report faults use language and concepts appropriate to cultural differences use and interpret non-verbal communication, such as hand signals initiative and enterprise skills to identify and report to appropriate personnel any faults in tools, equipment or materials literacy skills to: complete workplace documentation read and interpret: documentation from a variety of sources plans and specifications numeracy skills to apply measurements and calculations planning and organising skills to: plan and sequence tasks with others plan and set out work technical skills to select and install appropriate thermal insulation sheathing to sections of both hot and cold piping, fittings and vessels associated with refrigeration and cooling and heating systems teamwork skills to work with others to action tasks and relate to people from a range of cultural and ethnic backgrounds and with varying physical and mental abilities technology skills to: access and understand site-specific instructions in a variety of media use mobile communication technology

Required knowledge

correct waste disposal and recycling processes job safety analysis (JSA) and safe work method statements (SWMS) levelling and alignment processes materials handling processes WHS regulations relevant to insulation and sheathing personal protective equipment requirements and use processes of selecting and insulating pipes, fittings and vessels SI system of measurement techniques for cutting, fabricating and assembling metal sheathing techniques for fixing insulating materials to piping and vessels

# Evidence Guide

| The evidence guide provides advice on assessment and must be read in conjunction with the performance criteria, required skills and knowledge, range statement and the Assessment Guidelines for the Training Package. |  |
| --- | --- |
| Overview of assessment | This unit of competency could be assessed in the workplace or a close simulation of the workplace environment providing that simulated or project-based assessment techniques fully replicate plumbing and services workplace conditions, materials, activities, responsibilities and procedures. |
| Critical aspects for assessment and evidence required to demonstrate competency in this unit | A person who demonstrates competency in this unit must be able to provide evidence of: locating, interpreting and applying relevant information, standards and specifications to select and install insulating sheathing to piping, fittings and vessels applying safety requirements throughout the work sequence, including electrical safety requirements and the use of personal protective clothing and equipment given the plans and specifications, insulating 2 metres of small bore heating line with at least one change in direction; 2 metres of refrigeration line with at least one change in direction, and metal sheath at least 2 metres of pipework with at least one change in direction, ensuring: application of sustainability principles and concepts correct identification of requirements and details of proposed installations correct selection and use of appropriate processes, tools and equipment completing all work to specification compliance with regulations, standards and organisational quality procedures and processes communicating and working effectively and safely with others. |
| Context of and specific resources for assessment | This competency is to be assessed using standard and authorised work practices, safety requirements and environmental constraints. Assessment of essential underpinning knowledge will usually be conducted in an off-site context. Assessment is to comply with relevant regulatory or Australian standards’ requirements. Resource implications for assessment include: an induction procedure and requirement realistic tasks or simulated tasks covering the minimum task requirements relevant specifications and work instructions tools and equipment appropriate to applying safe work practices support materials appropriate to activity workplace instructions relating to safe work practices and addressing hazards and emergencies material safety data sheets research resources, including industry-related systems information. Reasonable adjustments for people with disabilities must be made to assessment processes where required. This could include access to modified equipment and other physical resources, and the provision of appropriate assessment support. |
| Method of assessment | Assessment methods must: satisfy the endorsed Assessment Guidelines of the Construction, Plumbing and Services Training Package include direct observation of tasks in real or simulated work conditions, with questioning to confirm the ability to consistently identify and correctly interpret the essential underpinning knowledge required for practical application reinforce the integration of employability skills with workplace tasks and job roles confirm that competency is verified and able to be transferred to other circumstances and environments. Validity and sufficiency of evidence requires that: competency will need to be demonstrated over a period of time reflecting the scope of the role and the practical requirements of the workplace where the assessment is part of a structured learning experience the evidence collected must relate to a number of performances assessed at different points in time and separated by further learning and practice, with a decision on competency only taken at the point when the assessor has complete confidence in the person's demonstrated ability and applied knowledge all assessment that is part of a structured learning experience must include a combination of direct, indirect and supplementary evidence. Assessment processes and techniques should as far as is practical take into account the language, literacy and numeracy capacity of the candidate in relation to the competency being assessed. Supplementary evidence of competency may be obtained from relevant authenticated documentation from third parties, such as existing supervisors, team leaders or specialist training staff. |

# Range Statement

| The range statement relates to the unit of competency as a whole. It allows for different work environments and situations that may affect performance. Bold italicised wording, if used in the performance criteria, is detailed below. Essential operating conditions that may be present with training and assessment (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) may also be included. |  |
| --- | --- |
| Work health and safety is to be according to commonwealth, state and territory legislation and regulations and may include: | handling of materials hazard control personal protective clothing and equipment prescribed under legislation, regulations and workplace policies and practices safe operating procedures, including recognising and preventing hazards associated with: hazardous materials and substances identifying and testing for electrical hazards service lines surrounding structures and facilities trip hazards use of tools and equipment work site visitors and the public working at heights working in proximity to others use of firefighting equipment use of first aid equipment workplace environment and safety. |
| Environmental requirements may include: | clean-up protection waste management. |
| Quality assurance requirements may include: | Environment Protection Authority (EPA) internal company quality assurance policy and risk management strategy International Standards Organisation site safety plan workplace operations and procedures. |
| Statutory and regulatory authorities include: | commonwealth, state or territory, and local authorities administering applicable Acts, regulations and codes of practice. |
| Tools and equipment may include: | dust masks and respirators fall protection equipment hand and power tools ladders lifting and load shifting equipment, including: chain blocks elevated work platforms forklifts hand trolleys hoists and jacks restricted height scaffolds rollers measuring equipment swaging machines pittsburgh lock forming machine sheet metal rollers spot welder. |
| Insulation materials may be: | chemically blown PVC nitrile rubber sponge in tubular or sheet form closed cell flexible hydrous calcium silicate with fibrous reinforcement in preformed sections polyisocyanurate (PIR) foam in preformed sections powder form and jute fibre in strip form resin-bonded glass fibre in flexible blanket or preformed sections resin-bonded mineral wool in flexible blanket form rigid polyurethane foam in preformed sections other approved materials. |
| Information may include: | charts and hand drawings instructions issued by authorised organisational or external personnel manufacturer specifications and instructions material safety data sheets (MSDS) memos organisation work specifications and requirements plans and sketches regulatory and legislative requirements, particularly those pertaining to: building codes WHS and environmental requirements plumbing regulations relevant Australian standards safe work procedures relating to selecting and installing insulating sheathing to hot and cold piping, fittings and vessels signage verbal, written and graphical instructions work bulletins work schedules, plans and specifications. |
| Fault reporting: | may be written or verbal is to be according to company's workplace procedures. |
| Sheathing may include: | aluminium aluminium and zinc coated steel stainless steel zinc coated steel other approved materials. |
| Vapour barriers may include: | mastic or plastic type filling compounds and adhesives reinforced aluminium foil and polyethylene tubular jacket. |
| Sustainability principles and concepts: | cover the current and future social, economic and environmental use of resources may include: efficient use of material efficient energy retention selecting appropriate products, components and material to ensure minimal environmental impact. |

# Unit Sector(s)

| Functional area |  |
| --- | --- |
| Unit sector | Plumbing and services |

# Custom Content Section

Not applicable.