# Assessment Requirements for CPPBDN4108 Draw layout of required services for Class 1 and 10 buildings

Release: 1

Assessment Requirements for CPPBDN4108 Draw layout of required services for Class 1 and 10 buildings

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 11.0. New unit. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by drawing the layout of services for two different Class 1 building projects, one of which includes an associated Class 10 building, as defined in the National Construction Code (NCC).

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

NCC, relevant regulations, Australian Standards and manufacturer specifications for services to Class 1 and 10 buildings

stormwater drainage methods including local authority stormwater drains and on-site water retention systems

stormwater components:

size and location requirements for eaves and box gutters, down pipes and in ground/concealed piping and surface water catchment

sewerage connection; local authority sewerage drainage systems and on-site treatment units

water connection:

reticulated water and on-site tanks

types of hot water systems

electricity sources:

mains electricity and on-site generation

electrical fixtures:

general power outlets, lights, light switches, smoke detectors and ventilation systems

gas sources:

mains gas and bottled gas

design concepts and principles relating to service connections for Class 1 and 10 buildings

safety measures including fire safety, electrical safety switches and tempering valves

relevant licensing requirements

service supply and connection terminology and definitions

drawings and specifications for service layouts

sustainable supply and resource use including water, energy and waste disposal.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations. Competency is to be assessed in the workplace or a simulated environment that accurately reflects performance in a real workplace setting where these skills and knowledge would be performed. This includes access to:

relevant regulations, codes and standards

computer with internet access and word processing software

technical references with current information on services

drafting equipment for computer or hand drawing.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b