# CPPBDN5103 Produce compliant designs for Class 2-9 buildings up to two storeys

Release: 1

CPPBDN5103 Produce compliant designs for Class 2-9 buildings up to two storeys

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 11.0. Supersedes and is not equivalent to: CPPBDN5006A Consult with clients to produce approved small-scale building project design briefs. CPPBDN5008A Develop concepts for small-scale building design projects and finalise solutions with clients. CPPBDN5009A Produce compliant client-approved designs for small-scale building design projects. Updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Application

This unit specifies the skills and knowledge required to produce compliant designs for Class 2-9 buildings to a maximum floor area of 2000m2, except construction Type A buildings.  It includes developing design briefs, integrating client requirements, analysing sites, developing design concepts, refining designs and presenting to clients.

Building classifications and construction Types are set out in the National Construction Code (NCC).

This unit is suitable for drafters and building designers who apply technical and theoretical knowledge and skills to building design work tasks.

This unit forms part of the licensing requirements for people engaged in building design in some states and territories. For further information, check with the relevant regulatory authority.

# Pre-requisite Unit

Nil.

# Unit Sector

Building Design

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Develop and finalise design brief. | 1.1 | Consult with client to clarify building design vision, preferences and budget to inform design brief. |
|  |  | 1.2 | Research applicable local authority requirements and perform a site analysis. |
|  |  | 1.3 | Review design requirements, challenges and planning constraints specific to project location. |
|  |  | 1.4 | Research passive design principles and sustainability considerations. |
|  |  | 1.5 | Document design brief according to workplace requirements. |
|  |  | 1.6 | Confirm design brief with client to obtain consent to proceed to design stage. |
| 2 | Analyse project information to clarify design concept. | 2.1 | Review design brief and site analysis for building and identify required additional information. |
|  |  | 2.2 | Determine impacts of compliance requirements on design options according to classification and use of building. |
|  |  | 2.3 | Analyse implications of preferred construction materials and methods on design options. |
|  |  | 2.4 | Reconcile site analysis and compliance requirements with design brief to determine and resolve any conflict. |
| 3 | Produce design concept. | 3.1 | Propose innovative and energy efficient design solutions that utilise sustainability principles to minimise environmental impact. |
|  |  | 3.2 | Produce freehand diagrammatic drawings of space planning and organisation to demonstrate evolution of preliminary concepts. |
|  |  | 3.3 | Prepare draft concept representations that are drawn to scale and test design ideas. |
|  |  | 3.4 | Review draft concept design to ensure it meets requirements of design brief, site and compliance constraints. |
|  |  | 3.5 | Apply rendering techniques to drawing views to enhance readability and depict light, shade and material finishes. |
|  |  | 3.6 | Produce set of concept design drawings for presentation to client. |
| 4 | Consult with client to finalise design concept. | 4.1 | Present design concept to client. |
|  |  | 4.2 | Outline design choices including energy efficient design principles and sustainability considerations. |
|  |  | 4.3 | Explain solutions developed to meet project requirements and record client feedback. |
|  |  | 4.4 | Resolve issues and associated implications arising from client feedback and revise drawings accordingly. |
| 5 | Refine spatial, structural and technical elements of building design to complete drawings. | 5.1 | Review structural and services systems and incorporate appropriate systems into building design. |
|  |  | 5.2 | Assess design drawings against client and compliance requirements and address anomalies. |
|  |  | 5.3 | Present final building design drawings to client for approval. |
|  |  | 5.4 | Save and file design documentation according to workplace requirements. |

# Foundation Skills

As well as the foundation skills explicit in the performance criteria of this unit, candidates require:

reading skills to interpret and apply complex technical information in regulations, codes and standards

numeracy skills to calculate optimum and cost-effective design solutions

written and oral skills to communicate appropriately for the audience and situation.

# Unit Mapping Information

Supersedes and is not equivalent to:

CPPBDN5006A Consult with clients to produce approved small-scale building project design briefs.

CPPBDN5008A Develop concepts for small-scale building design projects and finalise solutions with clients.

CPPBDN5009A Produce compliant client-approved designs for small-scale building design projects.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b