# CPPBDN6103 Evaluate construction materials, methods and services for Class 2-9 buildings up to three storeys

Release: 1

CPPBDN6103 Evaluate construction materials, methods and services for Class 2-9 buildings up to three storeys

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 11.0. New unit. |
| --- | --- |

# Application

This unit specifies the skills and knowledge required to evaluate traditional, contemporary and emerging construction materials and methods for the design of Class 2-9 buildings, as defined by the National Construction Code (NCC), having a rise in storeys up to three, including those of Type A construction. It includes researching the application, performance and interaction of construction materials, methods and services.

This unit is suitable for experienced building designers who draw on their broad theoretical and technical knowledge to evaluate construction materials and methods to solve complex problems and provide specialist information.

This unit forms part of the licensing requirements for people engaged in building design in some states and territories. For further information, check with the relevant regulatory authority.

# Pre-requisite Unit

Nil.

# Unit Sector

Building Design

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Evaluate site preparation, foundations and footings. | 1.1 | Refer to site classification report for information on foundation material and wind classification and implications for structural design of building. |
|  |  | 1.2 | Investigate systems for coordination of building set-out. |
|  |  | 1.3 | Investigate drainage provisions required to manage surface water and subsoil drainage, during and post construction works. |
|  |  | 1.4 | Investigate site stabilisation practices including shoring, underpinning and rock anchors. |
|  |  | 1.5 | Research and analyse commonly used structural footing, basement and floor systems, including tanking and retaining systems. |
|  |  | 1.6 | Investigate demolition procedures and requirements and the impact of demolition on existing and new structures. |
| 2 | Evaluate and report on construction methods and materials for building. | 2.1 | Research and analyse common, new and emerging structural wall and roof construction systems appropriate for Class 2-9 buildings up to three storeys. |
|  |  | 2.2 | Identify and analyse commonly used façade and glazing systems in Class 2-9 buildings up to three storeys. |
|  |  | 2.3 | Identify and analyse construction systems to satisfy compartmentation and separation requirements in Class 2-9 buildings up to three storeys. |
|  |  | 2.4 | Identify and analyse requirements for construction of required exits, including stairways, ramps and lobbies. |
|  |  | 2.5 | Identify and analyse requirements for construction of non-required stairways, ramps, escalators and lifts. |
|  |  | 2.6 | Analyse structural implications for provision of services. |
|  |  | 2.7 | Research and analyse partitioning systems appropriate for Class 2-9 buildings up to three storeys. |
|  |  | 2.8 | Document findings to inform design project. |
| 3 | Evaluate and report on the impact of compliance requirements on structural elements for building. | 3.1 | Identify and analyse fire resisting construction requirements relevant to scope of works, nature and use of building. |
|  |  | 3.2 | Identify and analyse NCC requirements for access and egress relevant to scope of works, nature and use of building. |
|  |  | 3.3 | Identify and analyse NCC requirements for health and amenity relevant to scope of works, nature and use of building. |
|  |  | 3.4 | Identify and analyse NCC requirements for energy efficiency relevant to scope of works, nature and use of building. |
|  |  | 3.5 | Document findings to inform design project. |
| 4 | Evaluate services for building. | 4.1 | Determine NCC requirements for services and equipment relevant to scope of works, nature and use of building. |
|  |  | 4.2 | Identify and analyse installation methods for different types of services, components and systems relevant to scope of works, nature and use of building. |
|  |  | 4.3 | Identify and analyse fire protection requirements and installation methods appropriate for Class 2-9 buildings up to three storeys. |
|  |  | 4.4 | Identify and analyse lift installation requirements for Class 2-9 buildings up to three storeys. |
|  |  | 4.5 | Identify and analyse emergency lighting and exit sign requirements for Class 2-9 buildings up to three storeys. |
|  |  | 4.6 | Document findings to inform design project. |
| 5 | Plan construction to facilitate continuing maintenance of buildings. | 5.1 | Identify and analyse construction systems for plant decks and safe systems for ongoing access and maintenance. |
|  |  | 5.2 | Nominate key service areas of building project requiring ongoing maintenance. |

# Foundation Skills

As well as the foundation skills explicit in the performance criteria of this unit, candidates require:

reading skills to:

research construction materials and methods and specifications for their use

interpret specialised vocabulary, acronyms and technical terminology used in the NCC.

# Unit Mapping Information

No equivalent unit.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b

Assessment Requirements for CPPBDN6103 Evaluate construction materials, methods and services for Class 2-9 buildings up to three storeys

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 11.0. New unit. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by evaluating and reporting on suitable construction materials, methods and services for two different building design projects involving Class 2-9 buildings up to three storeys:

each project must involve buildings in different locations and conditions and of different classifications from 2-9 as defined by the National Construction Code (NCC)

at least one building must be of Type A construction as defined by the NCC.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

NCC building classifications and construction types A, B and C

relevant local, state/territory and national legislative requirements

correct terminology to define building construction and methodology

application, behaviour, characteristics, performance and interactions of construction materials and methods

construction methods for different geographical locations and climatic conditions

strengths and weaknesses of construction methods for different geographical locations and climatic conditions

common hazards and risks of construction materials and methods

basic principles of structural engineering

sources of reliable information on traditional, contemporary and emerging uses of construction materials and methods

construction methods:

post-tensioning

low pitched or flat roofing

service cores

piles and pile caps

sandwich panels

fire doors

vehicle access doors

applicable characteristics of traditional, contemporary and emerging materials:

acoustic properties

aesthetic properties

availability

defects

durability

fire resistance

interaction with other materials

limitations due to manufacturing process

structural safety

sustainability features, such as energy efficiency, thermal properties and lifecycle

tolerances

transport, storage and handling requirements

site preparation:

shoring

underpinning

de-watering

ground stabilisation

retaining structures

sequencing of construction works

fire protection:

firefighting equipment

sprinkler system

smoke detection

alarm and ventilation systems.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations. Competency is to be assessed in the workplace or a simulated environment that accurately reflects performance in a real workplace setting where these skills and knowledge would be performed. This includes access to:

computer with internet access and word processing software

relevant legislation, regulations, codes and standards

technical references with current information on construction materials and methods.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b