# CPPBPA5008 Assess strategic planning proposals for compliance with bushfire requirements

Release: 1

CPPBPA5008 Assess strategic planning proposals for compliance with bushfire requirements

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 17.0. New unit of competency. |
| --- | --- |

# Application

This unit of competency describes the skills and knowledge required to apply jurisdictional bushfire regulatory requirements to assess strategic planning proposals and prepare a report for inclusion with the planning application.

The unit applies to individuals who are paraprofessional workers and have technical and theoretical knowledge of bushfire impact on property developments. They demonstrate autonomy, judgement and responsibility in a range of contexts within broad but established parameters. They possess communication and analytical skills to determine and transmit solutions to complex problems to others.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil.

# Unit Sector

Fire Technology

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Access and prepare resources for strategic planning proposal. | 1.1 | Discuss strategic planning proposal and outcomes with client. |
|  |  | 1.2 | Review jurisdictional strategic planning proposal process and regulatory requirements. |
|  |  | 1.3 | Access and interpret maps and plans and locate site for strategic planning proposal. |
|  |  | 1.4 | Undertake assessment of landscape bushfire hazard for strategic planning proposal with bushfire regulatory requirements. |
|  |  | 1.5 | Review codes of practice and other guidance material relevant to strategic planning proposal for bushfire prone areas. |
| 2 | Assess compliance with bushfire regulatory requirements for strategic planning proposal. | 2.1 | Interpret bushfire regulatory requirements governing strategic planning proposals for bushfire prone areas. |
|  |  | 2.2 | Identify key bushfire compliance considerations impacting strategic planning proposal according to bushfire regulatory requirements. |
|  |  | 2.3 | Review supplementary reports to identify opportunities and constraints for compliance with bushfire regulatory requirements. |
| 3 | Develop options for strategic planning proposal to achieve compliance. | 3.1 | Analyse options for compliance with bushfire regulatory requirements. |
|  |  | 3.2 | Select options for compliance best suited to proposed development. |
|  |  | 3.3 | Discuss options for compliance with client and seek feedback. |
|  |  | 3.4 | Review and respond to client feedback and finalise proposal to meet bushfire regulatory requirements. |
| 4 | Prepare report for client. | 4.1 | Identify submission requirements for strategic planning proposal. |
|  |  | 4.2 | Prepare spatial representation of potential impact of bushfire to support submission. |
|  |  | 4.3 | Prepare report that demonstrates compliance with regulatory requirements for strategic planning proposals in bushfire prone areas. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

No equivalent unit.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b

Assessment Requirements for CPPBPA5008 Assess strategic planning proposals for compliance with bushfire requirements

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 17.0. New unit of competency. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by:

Assessing at least one (1) strategic planning proposal for compliance with bushfire regulatory requirements for a bushfire prone area, including one (1) of the following:

a proposal for a minimum of 50 lots in a peri urban setting

a parcel of land of at least 10 hectares

a structure plan.

There must be evidence that the candidate has met the elements and performance criteria of the unit by:

discussing with client and interpreting plans and maps for a strategic planning proposal

interpreting strategic planning proposal process and jurisdictional bushfire regulatory requirements

conducting site visits to verify the complexity and bushfire risk of site for strategic planning proposal

identifying bushfire regulatory requirements governing strategic planning proposals in bushfire prone areas

assessing supplementary consultant reports for impact on bushfire mitigation measures for strategic planning proposal

reconciling strategic planning proposal outcomes with bushfire regulatory requirements and supplementary reports

identifying and recommending options for compliance with bushfire regulatory requirements

producing a report for application which must include:

recommendations for compliance with bushfire regulatory requirements

preparation of a bushfire assessment, a bushfire hazard level map and Bushfire Assessment Level (BAL) contour map specific to the strategic planning proposal and jurisdictional legislative requirement

plan for bushfire management to accompany strategic planning proposal according to jurisdictional legislation

other matters specified by jurisdictional legislation for bushfire resilience.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

bushfire regulatory requirements for strategic planning proposals in bushfire prone areas, including:

federal, state/territory and local planning policies and processes

legislation and regulations governing strategic planning proposals

compliance of strategic planning proposals with jurisdictional bushfire regulatory requirements

considerations for strategic planning, including:

existing infrastructures, including road network and capacity to support evacuation, telecommunications and water supply

existing/neighbouring development

fire mitigation and fire prevention strategies applicable to surrounding area

landscape fire behaviour potential

impact of proposed development on potential risk to the community/occupants

emergency response arrangements, including:

shelter in place options and community refuges

evacuation options

communication skills for consulting with clients and consultants

interpretation of supplementary consultant reports, legislation and impact on bushfire mitigation, including:

urban water management

conservation and environment

utilities and services

cultural and heritage

map making and graphical representation of bushfire risk, including:

geographic information systems (GIS)

computer-aided drawing (CAD)

map making

principles of report writing.

# Assessment Conditions

Assessors must satisfy the requirements for assessors contained in the Standards for Registered Training Organisations.

Competency is to be assessed in the workplace or a simulated environment that accurately reflects performance in a real workplace setting where these skills and knowledge would be performed.

Candidates must have access to:

strategic planning proposal

legislation, regulations, construction codes and standards for building in bushfire prone areas

bushfire assessments and plans for managing bushfire for strategic planning proposal

supplementary consultant reports affecting strategic planning proposal

resources for preparing formal reports and maps

regional GIS system and data.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b