# Assessment Requirements for CPPCLO3030 Develop a plan to mitigate water damage and restore carpets

Release: 1

Assessment Requirements for CPPCLO3030 Develop a plan to mitigate water damage and restore carpets

# Modification History

Release 1.

Replaces superseded non-equivalent CPPCCL3018A Inspect sites with water damage and CPPCCL3020A Develop a plan to mitigate water damage and restore carpet.

This version first released with CPP Property Services Training Package Version 4.

# Performance Evidence

A person demonstrating competency in this unit must satisfy the requirements of the elements, performance criteria, foundation skills and range of conditions of this unit.

The person must also assess two different sites with water damaged carpet and develop and document a plan to mitigate the water damage, including a cost analysis to undertake works. The plan must include all associated costs of works to be undertaken, an assessment of the risks and hazards to be managed before commencing work, and timelines to complete the work.

In doing the above work, the person must:

communicate with clients to obtain required information and arrange site access

assess and protect the above sites against the following immediate physical hazards:

continuing water inundation

electrical dangers

identify the source of water damage from the following common occurrences:

blocked drains

burst pipes

overflow of sinks and baths

river and stream overflows

storm damage

identify the type of water damage from the following:

black water

clear water

grey water

assess extent of water damage using five of the following different techniques:

corner inspection

blue lights

high intensity inspection lights

hygrometers

moisture meters

moisture sensors or probes

psychometric evaluation

thermal imaging

thermometers

visual inspection

comply with company, legislative and regulatory requirements for water mitigation and restoration operations.

# Knowledge Evidence

A person demonstrating competency in this unit must demonstrate knowledge of:

range of methods and equipment used to assess water damage, and their application and limitations

carpet characteristics, including:

carpet construction

carpet types

dying methods

features of fibres, piles and yarns

sub-flooring structures

underlay types

carpet restoration options, including:

carpet removal and reinstallation

pre-spotting and stain-removal methods

key requirements of legislation, regulations, codes of practice and industry advisory standards relating to restoring carpets, including AS/NZS 3733 Textile floor coverings – Cleaning maintenance of residential and commercial carpeting

processes and techniques for confirming the presence of black, clean and grey water.

# Assessment Conditions

The following must be present and available to learners during assessment activities:

equipment:

as listed in the range of conditions

personal protective equipment (PPE) as listed in the range of conditions

contingencies:

water entering site may need to be isolated or stopped to make site safe

specifications:

AS/NZS 3733 Textile floor coverings – Cleaning maintenance of residential and commercial carpeting

company documentation relating to developing plans to mitigate water damage and restore carpets

clients with differing needs and expectations

physical conditions:

actual or simulated work environments

relationships with team members and supervisor:

work may be conducted alone or as part of a team

relationship with client:

confirm requirements

liaise with client and insurers.

Timeframe:

as specified by the task.

### Assessor requirements

As a minimum, assessors must satisfy the assessor requirements in the Standards for Registered Training Organisations (RTOs) current at the time of assessment.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b