# Assessment Requirements for CPPCLO3100 Maintain cleaning storage areas

Release: 2

Assessment Requirements for CPPCLO3100 Maintain cleaning storage areas

# Modification History

| Release 2 | This version first released with CPP Property Services Training Package Release 17.0. Editorial corrections in the Knowledge Evidence. |
| --- | --- |
| Release 1 | This version first released with CPP Property Services Training Package Release 15.0. Supersedes and is equivalent to CPPCLO3035 Maintain cleaning storage areas. |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by:

systematising two different cleaning storage areas. For each storage area the candidate must:

organise cleaning supplies, including cleaning agents, consumables, and personal protective equipment (PPE)

organise cleaning equipment, including mops, brooms, buckets, cloths and vacuum cleaner.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

personal and site security procedures and requirements:

site access - security cards, codes and keys

areas of the worksite not to be accessed

alarm activation and deactivation

maintaining client privacy and confidentiality

contingencies if personal safety at risk

organisational requirements for:

reporting incidents - accidents and injury, damage to or breakages in the cleaning area or cleaning equipment, theft and threats to personal security and breaches of site security

communication – face-to-face, electronic, written and reporting

procedures for checking equipment operation and safety

use of cleaning equipment, cleaning agents, consumables and PPE

types of hazards and risks and ways to control:

WHS requirements

Safe Work Australia regulations and guidelines

job safety analyses (JSAs) and safe work method statements (SWMS)

manufacturer instructions and safety data sheets (SDS)

types of PPE and correct selection, care, use and disposal

slips, trips, falls and spills

manual-handling techniques when carrying, lifting, pushing and pulling

identification and safe practices with hazardous materials on site

correct use of signage, barriers, containment and engineering controls and PPE

safe use of electrical equipment

principles of storage of equipment and cleaning agents:

clean, tidy and systematic

clear labelling

height placement

electrical equipment

first-in, first-out

storage

colour coding

storage requirements for cleaning equipment

routine maintenance of cleaning equipment and cloths

types of cleaning agents - their purpose, action, correct use, precautions, safe handling, storage and disposal:

detergents

sanitisers

disinfectants

solvents

abrasives

cleaning principles:

cleaning agent, time, agitation and temperature

significance of pH value of cleaning agents

sequence and direction of cleaning

achieve results while doing no harm

environmentally sustainable work practices and compliance with environmental regulations:

storage and disposal of cleaning agents

ways of minimising negative environmental impact

conserving energy and water

recycling

waste disposal:

general waste

hazardous waste

recyclable waste

organic and green waste

used materials and cleaning agents.

# Assessment Conditions

Assessors must satisfy the requirements for assessors contained in the Standards for Registered Training Organisations.

Competency is to be assessed in the workplace or a simulated environment that accurately reflects performance in a real workplace setting where these skills and knowledge would be performed.

Candidates must have access to:

industry-standard cleaning equipment and materials

appropriate PPE

equipment manuals and workplace documents.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b