# Assessment Requirements for CPPCLO3114 Clean specialised clean-room environments

Release: 2

Assessment Requirements for CPPCLO3114 Clean specialised clean-room environments

# Modification History

| Release 2 | This version first released with CPP Property Services Training Package Release 17.0. Editorial corrections in the Knowledge Evidence. |
| --- | --- |
| Release 1 | This version first released with CPP Property Services Training Package Release 15.0. Supersedes and is equivalent to CPPCLO3014 Maintain clean-room environments. |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by:

cleaning two different clean-room environments:

at least four of the following:

workstation

bench top

cabling

ceiling

equipment casing

hard floor surface

soft floor surfaces such as special dust-catching carpets.

at least four of the following fittings:

cameras

furniture

glass

lights

monitors

skylights

smoke detectors

sprinkler systems

vents and grilles.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

personal and site security procedures and requirements:

site access - security cards, codes and keys

areas of the worksite not to be accessed

alarm activation and deactivation

maintaining client privacy and confidentiality

contingencies if personal safety at risk

types of hazards and risks and ways to control:

work health and safety (WHS) requirements

Safe Work Australia regulations and guidelines

job safety analyses (JSAs) and safe work method statements (SWMS)

manufacturer instructions and safety data sheets (SDS)

types of personal protective equipment (PPE) and correct selection, care, use and disposal

slips, trips, falls and spills

manual-handling techniques when carrying, lifting, pushing and pulling

identification and safe practices with hazardous materials on site

correct use of signage, barriers, containment and engineering controls and PPE

safe use of electrical equipment

organisational requirements for:

reporting incidents - accidents and injury, damage to or breakages in the cleaning area or cleaning equipment, theft and threats to personal security and breaches of site security

procedures for checking equipment operation and safety

use of cleaning equipment, cleaning agents, consumables and PPE

cleaning methods and precautions for clean-rooms:

impact of dust, moisture, electrical current and magnetic fields on sensitive electronic equipment

methods of cleaning plastic, vinyl, laminate, rubber, metal and glass surfaces

functions and features of cleaning equipment, safe use and storage of cleaning equipment:

cleaning trolleys

buckets, brooms and dustpans

damp and dust mops

vacuum cleaners and accessories

buffing machines with brushes and pads

extension poles

glass cleaning equipment

lint-free and anti-static cleaning cloths

selection, use, care and storage of microfibre equipment

scourers

types of cleaning agents suitable for using with sensitive equipment- their purpose, action, correct use, precautions, safe handling, storage and disposal:

purified water

detergents

surfactants

sanitisers

disinfectants

solvents

abrasives

cleaning principles:

cleaning agent, time, agitation and temperature

significance of pH value of cleaning agents

sequence and direction of cleaning

achieve results while doing no harm

environmentally sustainable work practices and compliance with environmental regulations:

storage and disposal of cleaning agents

ways of minimising negative environmental impact

conserving energy and water

recycling

waste disposal:

general waste

hazardous waste

recyclable waste

organic and green waste

used materials and cleaning agents.

# Assessment Conditions

Assessors must satisfy the requirements for assessors contained in the Standards for Registered Training Organisations.

Competency is to be assessed in the workplace or a simulated environment that accurately reflects performance in a real workplace setting where these skills and knowledge would be performed.

Candidates must have access to:

industry-standard cleaning equipment

appropriate PPE

manufacturer’s instructions and workplace documents.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b