# Assessment Requirements for CPPCLO4104 Restore water-damaged structures and contents

Release: 1

Assessment Requirements for CPPCLO4104 Restore water-damaged structures and contents

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 15.0. Supersedes and is not equivalent to CPPCLO3008 Mitigate carpet water damage. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by:

developing a plan to restore a water-damaged internal wall and hard floor at two different commercial sites where one site is contaminated by black water and one site is contaminated by grey water

restoring a domestic carpet damaged by clean water to pre-event condition.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

aspects of the following relevant to water damage remediation:

work health and safety (WHS) requirements

Safe Work Australia regulations and guidelines

job safety analyses (JSAs) and safe work method statements (SWMS)

manufacturer instructions and safety data sheets (SDS)

IICRC S500 Standard for Water Damage Restoration or Australian equivalent

AS/NZS 3733 Textile floor coverings – Cleaning maintenance of residential and commercial carpeting

Environment Protection Authority (EPA) and local requirements for prescribed waste disposal

personal and site security procedures and requirements:

site access - security cards, codes and keys

areas of the worksite not to be accessed

alarm activation and deactivation

maintaining client privacy and confidentiality

contingencies if personal safety at risk

health effects of exposure to microbial contamination in water-damaged buildings

potential microorganisms present in a water-damaged site

unintended consequential damage arising from event and mitigation

building system considerations relevant to water remediation:

structural components - methods of construction and materials

heating, cooling and ventilation, including heating, ventilation and air conditioning (HVAC) systems

potential locations of not readily observable water damage - behind and under plaster walls, ceilings, pipes, appliances, insulation, panelling, wallpaper, floors, flooring, carpet, cabinetry and interstitial spaces

effects of humidity, airflow and temperature on drying and moisture movement through structural materials and contents

types of hazards and risks and ways to control:

types of personal protective equipment (PPE) and correct selection, care, use and disposal

slips, trips, falls and spills

manual-handling techniques when carrying, lifting, pushing and pulling

identification and safe practices with asbestos on site

correct use of signage, barriers, containment and engineering controls and PPE

safe use of electrical equipment

cleaning principles:

cleaning agent, time, agitation, temperature

significance of pH value of cleaning agents

sequence and direction of cleaning

achieve results while doing no harm

types, characteristics and processes to identify clean, black and grey water

class of water intrusion and mitigation methods and precautions for surface types:

porous

semi-porous

non-porous

factors determining restorability:

classification of water and duration of exposure

material composition

cost of restoration

cost of replacement

sentimental, legal, artistic, cultural, historical value

potential secondary harm and waste created by restoration methods

situations and procedure for seeking specialist advice:

work requiring insurance company approval

situations requiring waiver

specialised contents such as artwork

high value and irreplaceable items

role, strengths and limitations of specialists who may provide advice:

Indoor Environmental Professional (IEP)

occupational hygienist

building professional

insurance representative

microbiologist

indications that water-damaged carpet and underlay, and personal items should be disposed of

strategies to promote surface evaporation and methods for extracting water and drying for:

carpet construction, fibre and underlay type

sub-flooring structures

building structures

functions and features of equipment - safe operational practices, routine maintenance and storage:

submersible and surface pumps

extraction units

extraction tools, including light wands, weighted drag tools, stationary tools, handheld tools and self-propelled units

axial and centrifugal air moving equipment

structural cavity drying equipment

air filtration devices (AFDs)

dehumidification equipment, including refrigerant dehumidifiers, low-grain refrigerants (LGRs) and desiccants

heat drying systems and equipment (direct fired, indirect fired, electric, hydronic and radiant)

functions and features of detection and monitoring instruments - safe operational practices, storage and routine maintenance:

thermometers

hygrometers

psychrometers

manometers

gas detectors

particle counters

moisture meters

thermal imaging cameras

psychrometric charts and calculators

data logging devices, remote monitoring systems adenosine triphosphate (ATP) and e-coli testing

types, application and limitations of moisture testing

factors affecting moisture testing results

types of cleaning agents - their purpose, action, correct use, precautions, safe handling, storage and disposal:

anti-microbial agents

detergents

disinfectants

environmentally sustainable work practices and compliance with environmental regulations:

ways of minimising negative environmental impact

conserving energy and water

recycling

waste disposal of used materials and remediation agents

disposal of prescribed waste.

# Assessment Conditions

Assessors must satisfy the requirements for assessors contained in the Standards for Registered Training Organisations.

Competency is to be assessed in the workplace or a simulated environment that accurately reflects performance in a real workplace setting where these skills and knowledge would be performed.

Candidates must have access to:

industry-standard cleaning equipment

appropriate PPE

manufacturer’s instructions and workplace documents.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b