# Assessment Requirements for CPPFES2004 Identify and report on types of installed fire safety equipment and systems

Release: 1

Assessment Requirements for CPPFES2004 Identify and report on types of installed fire safety equipment and systems

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 13.0. Supersedes and is equivalent to CPPFES2004A Identify types of installed fire safety equipment and systems. Unit updated to meet the Standards for Training Packages 2012. Minor change to title. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by identifying and reporting on the types of fire safety equipment and systems installed at two different sites.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

purpose and range of Australian colour-coding system for portable and wheeled fire extinguishers, including pictographs

purpose, types and operation of:

automatic fire detection and alarm systems

automatic sprinkler alarm systems

delivery layflat fire hoses

emergency exits and lighting units and systems

fire and smoke door sets

fire blankets

fire hose reels

fire pumpsets

gaseous fire-suppression systems

intercom systems for emergency purposes

major components of fire hydrant systems

portable and wheeled fire extinguishers

pre-engineered fire-suppression systems

service penetration products

smoke and heat alarms

sound systems for emergency purposes.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be conducted in the workplace or a simulated workplace using realistic conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to documentation, equipment, sites and installed fire safety systems and equipment required to achieve the performance evidence.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b