# Assessment Requirements for CPPFES2005 Demonstrate first attack firefighting equipment

Release: 1

Assessment Requirements for CPPFES2005 Demonstrate first attack firefighting equipment

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 13.0. Supersedes and is equivalent to CPPFES2005A Demonstrate first attack firefighting equipment. Unit updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by demonstrating and explaining the correct and safe use of first attack firefighting equipment, including:

selecting an appropriate extinguisher and demonstrating correct extinguishment methods for the following simulated fires:

one class A, C or F type fire involving two different types of equipment or materials

one class A, C or F type fire involving potentially energised electrical equipment

one class B type fire

one class D type fire

attacking a fire using a fire hose reel where the fire is located more than 10 metres from the installed location of the hose reel

attacking a fire using a fire blanket.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

basic methods of locating a fire

correct use of fire extinguishers and hose reels on different classes of fire and implications of incorrect use

how fire can be spread by conduction, convection, radiation and direct burning

how water pressure influences the discharge distance for hose reels

key actions in a fire emergency, commonly known by the acronym RACE:

rescue

activate alarm

confine fire

evacuate or extinguish

meaning of secondary damage

reasons why cooking oil and fat fires require special attention

theory of fire, including the triangle of combustion

types and operation of fire protection equipment classified as first attack equipment.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit of competency could be assessed by practical demonstration, using simulated fire situations. Due to safety and cost factors, methods of extinguishing class D, E and F fires are confined to oral explanations and role play or simulations only.

All practical demonstrations involving the use of simulated fires must adhere to the safety and environmental regulations relevant to each state or territory.

Candidates must have access to documentation, first attack firefighting equipment and simulated fire situations required to achieve the performance evidence.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad