# CPPFES2005 Demonstrate first attack firefighting equipment

Release: 1

CPPFES2005 Demonstrate first attack firefighting equipment

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 13.0. Supersedes and is equivalent to CPPFES2005A Demonstrate first attack firefighting equipment. Unit updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Application

This unit of competency specifies the skills and knowledge required to demonstrate first attack firefighting equipment. It includes demonstrating and explaining to clients how to correctly and safely use portable fire extinguishers, fire hose reels and fire blankets in emergency situations.

The unit is suitable for those with basic skills and knowledge undertaking routine work tasks under the direction of more experienced workers.

Licensing, legislative, regulatory or certification requirements apply to this unit of competency in some states and territories. For further information, check with the relevant regulatory authority.

# Pre-requisite Unit

Nil.

# Unit Sector

Fire Protection Inspection and Testing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Demonstrate and explain correct use of portable fire extinguisher to extinguish simulated fire. | 1.1 | Explain purpose and use of different types of fire extinguishers to relevant persons. |
|  |  | 1.2 | Identify fire type and classification. |
|  |  | 1.3 | Select fire extinguisher according to fire type and classification. |
|  |  | 1.4 | Demonstrate safe and correct use of fire extinguisher to attack fire according to manufacturer requirements. |
| 2 | Demonstrate and explain correct use of fire hose reel. | 2.1 | Explain purpose and use of fire hose reel to relevant persons. |
|  |  | 2.2 | Unroll fire hose reel according to manufacturers’ instructions. |
|  |  | 2.3 | Operate fire hose reel nozzle to direct water stream at selected target. |
|  |  | 2.4 | Turn off water in approved sequence and check hose reel for leaks according to manufacturers’ instructions. |
|  |  | 2.5 | Rewind fire hose reel after use according to manufacturer requirements. |
| 3 | Demonstrate and explain use of fire blanket. | 3.1 | Explain purpose and use of fire blanket to relevant persons. |
|  |  | 3.2 | Demonstrate safe and correct use of fire blanket to attack fire according to manufacturer requirements. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPPFES2005A Demonstrate first attack firefighting equipment.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad