# Assessment Requirements for CPPFES2006 Prepare for installation and servicing operations

Release: 1

Assessment Requirements for CPPFES2006 Prepare for installation and servicing operations

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 13.0. Supersedes and is equivalent to CPPFES2006A Prepare for installation and servicing operations. Unit updated to meet the Standards for Training Packages 2012. Updated licensing statement. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by preparing for one installation and one servicing operation involving two different settings.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

action to take when a breach of regulation, work health and safety (WHS) or other policy occurs when preparing for installation and servicing operations

definition of terms used in Australian Standards:

commentary

informative

referenced document

shall

should

implications of not applying rules and regulations to work activities

key features of legislation, regulations, codes and Australian Standards relevant to installation and servicing operations:

environmental protection

licence requirements for handling ozone depleting substances (ODS) and synthetic greenhouse gases (SGG)

National Construction Code (NCC) and deemed-to-satisfy requirements

occupancy permits

purpose, function and structure of Australian Standards

records and documentation

methods for:

converting basic units of measurement and pressure

holding work when using power tools

using detection equipment for finding hidden utilities

using liquid adhesives to attach location signs

preventing ODS and SGG emissions according to the Fire Protection Industry (ODS &SGG) Board ODS & SGG Good Practice Guide

on-site work permit requirements

reasons for preventing ODS and SGG emissions

reasons and methods for ensuring service vehicle stock levels are constantly maintained

types of electrical safeguards used to protect persons and property when installing or servicing fire protection equipment and systems

types and purpose of hardware items, tools and equipment used when installing and servicing fire protection equipment and systems

workplace requirements relevant to servicing and installation operations:

maintenance of tools, equipment and service vehicle

WHS, including hazard and risk identification and control.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be conducted in the workplace or a simulated workplace using realistic conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to documentation, tools, equipment, hardware and work locations required to achieve the performance evidence.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b