# Assessment Requirements for CPPFES2011 Install portable fire extinguishers, fire cabinets and fire blankets

Release: 1

Assessment Requirements for CPPFES2011 Install portable fire extinguishers, fire cabinets and fire blankets

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 13.0. Supersedes and is equivalent to CPPFES2011A Install portable fire extinguishers and fire blankets. Unit updated to meet the Standards for Training Packages 2012. Minor change to title. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by installing and completing installation records for:

one fire blanket

two portable fire extinguishers, each onto different building materials

one fire extinguisher and fire extinguisher cabinet combination.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

action to take when a breach of regulation, work health and safety (WHS) or other policy occurs when installing portable fire extinguishers, fire cabinets and fire blankets

importance of compliance with legislation and standards, and implications of:

not applying legislative requirements to job functions

incorrectly determining the installation site for a fire blanket

incorrectly locating fire extinguishers and fire blankets

key features of legislation, regulations, codes and Australian Standards relevant to the selection, positioning and installation of portable fire extinguishers, fire cabinets and fire blankets to meet the hazard present in the area to be protected:

environmental protection

National Construction Code (NCC) and deemed-to-satisfy requirements

records and documentation

methods for determining the correct installation site for fire blankets

methods for locating hidden 240-volt power cables, gas pipes, water pipes and other relevant utilities

reasons for installing portable fire extinguishers in fire cabinets

special requirements of aggressive environments such as those with high moisture, dust levels or acidity

types and purpose of materials, hardware, tools and equipment used when installing portable fire extinguishers, fire cabinets and fire blankets

types of building surfaces that may be encountered when installing fire protection equipment and suitable fixing methods for each to meet the load capacity of the installed fire extinguisher, fire blanket or fire cabinet

workplace requirements for installing portable fire extinguishers, fire cabinets and fire blankets:

maintenance of tools and equipment

WHS, including hazard and risk identification and control.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be conducted in the workplace or a simulated workplace using realistic conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to documentation, tools, equipment, materials, hardware and installation sites required to achieve the performance evidence.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b