# Assessment Requirements for CPPFES2020 Conduct routine inspection and testing of fire extinguishers and fire blankets

Release: 1

Assessment Requirements for CPPFES2020 Conduct routine inspection and testing of fire extinguishers and fire blankets

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 13.0. Supersedes and is equivalent to CPPFES2020A Conduct routine inspection and testing of fire extinguishers and fire blankets. Unit updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by conducting routine inspection and testing of fire extinguishers and fire blankets, including:

six-monthly routine inspections and testing on five fire blankets installed across two separate buildings

six-monthly and yearly routine inspections and testing on ten fire extinguishers involving extinguishers from each of the following types:

water

dry chemical

carbon dioxide

wet chemical

foam

identifying and documenting a total of three non-compliances.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

action to take when a breach of regulation, work health and safety (WHS) or other policy occurs when conducting routine inspection and testing of fire extinguishers and fire blankets

dangers of mixing extinguishing agents

disposal requirements for waste products

key features of legislation, regulations, codes and Australian Standards relevant to selecting, positioning, inspecting and testing installed fire extinguishers and fire blankets to meet the hazard present in the area to be protected:

environmental protection associated with discharge of foam and vaporising liquid agents that are listed as ozone depleting substances (ODS) and synthetic greenhouse gases (SGG)

key procedures and licence requirements detailed in ODS and SGG code of practice relevant to handling, transporting, inspecting and testing extinguishers with ODS and SGG agents

maintenance schedules

National Construction Code (NCC) and deemed-to-satisfy requirements

records and documentation

implications of applying incorrect servicing procedures

implications of not complying with regulatory requirements when inspecting and testing fire extinguishers and fire blankets

reasons for:

conforming to the Environmental Protection Authority (EPA) regulations, or equivalent, with respect to discharge tests

ensuring gauges and scales are calibrated regularly

folding fire blankets according to manufacturer requirements

following client workplace procedures and guidelines

informing clients of changes to Australian Standards

special requirements for aggressive environments, such as those with high moisture, dust levels or acidity

types and quantities of spare parts that should be carried in a service vehicle

types of extinguisher operation:

cartridge

rechargeable and non-rechargeable

reversible

stored pressure

types of extinguishing agents:

water

foam

wet chemical

powder

carbon dioxide

vaporising liquid

types and purpose of tools, equipment and spare parts used when inspecting and testing fire extinguishers and fire blankets:

hand and power tools

hydrostatic test equipment

recharge equipment

safety cages

scales

personal protective equipment (PPE)

types of defects that may be identified when inspecting and testing fire extinguishers and fire blankets

types of permitted repairs to fire extinguishers and methods for conducting those repairs

workplace requirements for inspecting and testing fire extinguishers and fire blankets:

maintenance of tools and equipment

WHS, including hazard and risk identification and control.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be conducted in the workplace or a simulated workplace using realistic conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to documentation, tools, equipment, spare parts, fire extinguishers, fire blankets and worksites required to achieve the performance evidence.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b