# Assessment Requirements for CPPFES2025 Inspect, test and maintain gaseous fire-suppression systems

Release: 1

Assessment Requirements for CPPFES2025 Inspect, test and maintain gaseous fire-suppression systems

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 13.0. Supersedes and is equivalent to CPPFES2025A Inspect, test and maintain gaseous fire-suppression systems. Unit updated to meet the Standards for Training Packages 2012. Updated licensing statement. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by inspecting, testing and maintaining two gaseous fire-suppression systems installed in different settings.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

action to take when a breach of work health and safety (WHS), ozone depleting substances (ODS) and synthetic greenhouse gases (SGG) regulation or other policy occurs when inspecting, testing and maintaining gaseous fire-suppression systems

difference between total flooding and local application systems

difference between various types of extinguishing gaseous agents used in gaseous fire-suppression systems

extent to which pressures and liquid levels in extinguishing agent containers vary according to temperature change

fire-suppressant action of gaseous agents in terms of smothering, cooling and reacting chemically with the fire radical

how building structures, services and service penetrations within and through protected area enclosures influence the holding time of gaseous agents

industry best-practice methods used to isolate actuators to prevent ODS and SGG emissions in the workplace

key features of legislation, regulations, codes and Australian Standards relevant to inspecting, testing and maintaining gaseous fire-suppression systems:

container handling, movement and transport requirements

extinguishing agent handling licence (EAHL) requirements

environmental protection, ODS and SGG emission requirements

maintenance schedules

records and documentation

occupational hazards of gaseous agents in terms of:

no observable adverse effect level (NOAEL)

lowest observable adverse effect level (LOAEL)

products of combustion from fire and products of decomposition associated with some gaseous agents when extinguishing a fire

operating principles of:

lock-off, directional and pressure-release valves

pneumatic and mechanical actuators interfaced with gaseous systems

fire alarm components interfaced with gaseous fire-suppression systems

gaseous agent discharge nozzles

operation of different types of equipment used to store and release gaseous extinguishing agent

pressures generated during release of gaseous agents, pressure rating requirements of pipework and fittings, and the need for adequate support bracing

reasons and methods for preventing ODS and SGG emissions in the workplace

types of gaseous fire-suppression agents and how they extinguish fire, including concentration and holding time requirements

types and operating principles of gaseous fire-suppression systems:

total flooding

local application

engineered and pre-engineered

types and purpose of tools, equipment and testing devices used when inspecting, testing and maintaining gaseous fire-suppression systems:

actuator simulators

barcode readers

container contents-measuring equipment

fire equipment spare parts:

aerosol test smoke

anti-tamper seals

clamps

service tags

hand and power tools

manual-handling aids

personal protective equipment (PPE)

scales

workplace requirements for inspecting, testing and maintaining gaseous fire-suppression systems:

maintenance of tools and equipment

WHS, including hazard and risk identification and control.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be conducted in the workplace or a simulated workplace using realistic conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to drawings, documentation, tools, equipment and installed gaseous fire-suppression systems required to achieve the performance evidence.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b