# Assessment Requirements for CPPFES2027 Inspect, test and maintain non-gaseous pre-engineered fire-suppression systems

Release: 1

Assessment Requirements for CPPFES2027 Inspect, test and maintain non-gaseous pre-engineered fire-suppression systems

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 13.0. Supersedes and is equivalent to CPPFES2027A Inspect, test and maintain non-gaseous pre-engineered fire-suppression systems. Unit updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by:

inspecting, testing and maintaining two non-gaseous pre-engineered fire-suppression systems installed in different locations and using different extinguishing agents

completing the following maintenance activities for each system:

replacing the agent and recharging the system to operational condition

replacing one component within the extinguishing system with approved replacement componentry

replacing one component within the detection system with approved replacement componentry.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

action to take when a breach of regulation, work health and safety (WHS) or other policy occurs when inspecting, testing and maintaining non-gaseous pre-engineered fire-suppression systems

hazards and risks typically encountered when inspecting, testing and maintaining non-gaseous pre-engineered fire-suppression systems:

electrical

hazardous materials

moving parts

implications of applying incorrect inspection, testing and maintenance procedures

implications of not complying with safety, regulatory or manufacturer requirements when inspecting, testing and maintaining non-gaseous pre-engineered fire-suppression systems

key features of legislation, regulations, codes and Australian Standards relevant to inspecting, testing and maintaining non-gaseous pre-engineered fire-suppression systems:

environmental protection

limitations of maintenance and repair functions that may be conducted by fire protection technicians

maintenance schedules

National Construction Code (NCC) and deemed-to-satisfy requirements

records and documentation

procedures for inspecting, testing and maintaining non-gaseous pre-engineered fire-suppression systems to verify operation in line with manufacturer requirements

purpose of fire-suppression system shutdown and isolation during maintenance

types and purpose of non-gaseous pre-engineered fire-suppression systems

types of extinguishing agents, their characteristics and use

types and purpose of major components used in fixed installed non-gaseous pre-engineered fire-suppression systems:

actuators: mechanical, pyrotechnic and solenoid

agent discharge nozzles

agent distribution pipework and hoses

container valves

control equipment

detection devices

extinguishing agent containers, such as tanks and cylinders

support brackets

types and purpose of tools and equipment used when inspecting, testing and maintaining non-gaseous pre-engineered fire-suppression systems:

hand and power tools

pressurising equipment

personal protective equipment (PPE)

workplace requirements for inspecting, testing and maintaining non-gaseous pre-engineered fire-suppression systems:

maintenance of tools and equipment

WHS, including hazard and risk identification and control.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be conducted in the workplace or a simulated workplace using realistic conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to documentation, tools, equipment, spare parts and installed fixed non-gaseous pre-engineered fire-suppression systems required to achieve the performance evidence.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b