# Assessment Requirements for CPPFES2037 Inspect and test fire hydrant systems

Release: 1

Assessment Requirements for CPPFES2037 Inspect and test fire hydrant systems

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 13.0. Supersedes and is equivalent to CPPFES2037A Inspect and test fire hydrant systems. Unit updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by completing the six-monthly and yearly inspection and test procedures on 15 fire hydrant systems installed across ten different sites according to the requirements of the current Australian Standard for the routine service of fire protection systems and equipment, excluding:

inspection and testing functions associated with pressure-reducing equipment in high rise buildings, fire pumpset systems or water supply tanks

water supply proving tests.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

action to take when a breach of regulation, work health and safety (WHS) or other policy occurs when inspecting and testing fire hydrant systems

basic principles of hydraulics, such as pressure scales (metric and imperial)

flow switches and associated testing equipment

general operation of hydrant system components:

backflow prevention devices

booster valve arrangements

control valves

interface connections to fire indicating panel and/or warning systems by pressure and flow switches

landing valves

pumpset and interface controls

towns’ main reticulated water supplies

valve anti-tamper controls

water pressure and flow through a system to activate pumpsets

water tank water supply infill and outlet valve arrangement

hydrant systems and components:

circulation and system pressure relief valves

controls on pumpset controller panel:

fuel gauges

indicators

main isolating switch

equipment that can be fitted to a landing valve:

delivery layflat hoses

types of couplings

flow switches and associated testing equipment

isolating valves associated with hydrant system

main water supply underground key-operated valve location

pressure gauges

pumpsets associated with hydrant system

pump starting switches

system block plan

system main alarm bell and/or alarm strobe

water-based fire-suppression system control and alarm valves and ancillary equipment for control and alarm operation indication/interface

water supply tanks, water level indicators and automatic inflow valves

implications of not complying with regulatory requirements when inspecting and testing fire hydrant systems

isolating valves associated with hydrant system

key features of legislation, regulations, codes and Australian Standards relevant to the inspection and testing of fire hydrant systems:

environmental protection

hydrant system applications:

combined sprinkler and hydrant system

town main system hydrant points

maintenance schedules

National Construction Code (NCC) and deemed-to-satisfy requirements

records and documentation

terminology used in relation to water-based fire-suppression systems:

aggressive environments

control assembly and pump area

critical defect

frequency and tolerances of maintenance intervals

installation and system pressure

pressure-reducing valve

preventive maintenance

pump controller status

sprinkler system interface controls

stop cocks and main stop valves

system pressure gauge schedule

water supply proving tests

water supply stop valves

water supply tanks: atmospheric and pressure

types and purpose of tools and equipment used when inspecting and testing fire hydrant systems

workplace requirements for inspecting and testing fire hydrant systems:

maintenance of tools and equipment

WHS, including hazard and risk identification and control.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be conducted in the workplace or a simulated workplace using realistic conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to documentation, tools, equipment, pictures or cut-away sections of control assemblies and valves to show operation, adequate water supply and draining or recycling arrangements to operate fire hydrant systems and operational fire hydrant systems required to achieve the performance evidence.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b