# Assessment Requirements for CPPFES2039 Identify, inspect and test passive fire and smoke containment products and systems

Release: 1

Assessment Requirements for CPPFES2039 Identify, inspect and test passive fire and smoke containment products and systems

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 13.0. Supersedes and is equivalent to CPPFES2039A Identify, inspect and test passive fire and smoke containment products and systems. Unit updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by identifying, inspecting and testing passive fire and smoke containment products and systems installed to protect service penetrations and control joints in five different buildings.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

action to take when a breach of regulation, work health and safety (WHS) or other policy occurs when identifying, inspecting and testing passive fire and smoke containment products and systems

dangers of incorrect installation of passive fire and smoke containment products and systems

implications of not complying with regulatory requirements when inspecting and testing passive fire and smoke containment products and systems

key features of legislation, regulations, codes and Australian Standards relevant to identifying, inspecting and testing passive fire and smoke containment products and systems:

maintenance schedules

National Construction Code (NCC) and deemed-to-satisfy requirements

records and documentation

operational requirements for inspecting and testing passive fire and smoke containment products and systems

passive fire and smoke containment variables, including types, products and solutions

principles of passive fire protection related to overall fire safety systems

procedures for determining fire resistance levels

technical terms relating to inspecting and testing passive fire and smoke containment products and systems

types of damage, defects and modifications to fire and smoke stopping products and systems that may cause loss of fire resistance

types, purpose and key physical features of a range of passive fire and smoke containment products and systems:

access panels and hatches

ceiling and partition systems

control and expansion joints

duct and damper penetration protection

duct fireproofing and protection

fabric and timber protection, including impregnated or sprayed

fire-resistant mortars and grouts, including load bearing and non-load bearing

fire-resistant pillows, including intumescent and non-intumescent

fire stop collars, including cast in, retrofit and wall

fire-rated air transfer grilles

fire-rated sealants, caulks and putties, including acrylic, polyurethane and silicone

fire-resistant boards, including calcium silicate and vermiculite

industrial fire protection

intumescent dampers and seals

intumescent paints and coatings, other than those used for fireproofing structural steel

linear gaps seals, including impregnated foams, tapes, intumescent gaskets and sealants

materials into or onto which passive fire and smoke containment products are installed

mechanical and intumescent fire dampers

openings in structural elements

penetration solutions

protection against spread of flame

smoke dampers

structural steel fireproofing

unplasticised polyvinyl chloride (UPVC) and plumbing penetrations

workplace requirements for identifying, inspecting and testing passive fire and smoke containment products and systems:

maintenance of tools and equipment

WHS, including hazard and risk identification and control.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be conducted in the workplace or a simulated workplace using realistic conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to drawings, documentation and installed passive fire and smoke containment products and systems required to achieve the performance evidence.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b