# CPPFES2039 Identify, inspect and test passive fire and smoke containment products and systems

Release: 1

CPPFES2039 Identify, inspect and test passive fire and smoke containment products and systems

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 13.0. Supersedes and is equivalent to CPPFES2039A Identify, inspect and test passive fire and smoke containment products and systems. Unit updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Application

This unit of competency specifies the skills and knowledge required to identify, inspect and test passive fire and smoke containment products and systems installed at client premises. Service activities are conducted in compliance with requirements of the relevant Australian Standards and National Construction Code (NCC).

The unit does not cover installation, replacement, maintenance or repair functions that are restricted to licensed trades or occupations.

The unit is suitable for those with basic skills and knowledge undertaking routine work tasks under the direction of more experienced workers.

Licensing, legislative, regulatory or certification requirements apply to this unit of competency in some states and territories. For further information, check with the relevant regulatory authority.

# Pre-requisite Unit

Nil.

# Unit Sector

Fire Protection Inspection and Testing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Plan and prepare for service operation. | 1.1 | Read work instructions to clarify service timeframes, client needs, and site and passive fire and smoke containment product and system locations. |
|  |  | 1.2 | Discuss planned service procedures with relevant persons to clarify client needs and expectations. |
|  |  | 1.3 | Plan work activities to comply with relevant Australian Standards, NCC, regulatory, work health and safety (WHS) and workplace requirements. |
|  |  | 1.4 | Identify potential and actual breaches of rules and regulations associated with work instructions and take required action to ensure compliance according to regulatory and workplace requirements. |
|  |  | 1.5 | Select and use required personal protective equipment (PPE). |
|  |  | 1.6 | Arrange access to worksite and communicate with responsible entity and affected persons to advise duration and impact of planned service procedures and to ensure alternative safety arrangements are implemented. |
|  |  | 1.7 | Identify and prepare to control hazards in the work area according to workplace requirements. |
| 2 | Identify passive fire and smoke containment installations and systems. | 2.1 | Identify passive fire and smoke containment systems according to function, operation and location. |
|  |  | 2.2 | Identify and locate installed product components of passive fire and smoke containment installations and systems according to design, operation and function. |
| 3 | Inspect and test passive fire and smoke containment installations and systems. | 3.1 | Inspect passive fire and smoke containment system products according to the relevant maintenance schedule. |
|  |  | 3.2 | Check passive fire and smoke containment system products for marking and labelling against requirements of the relevant Australian Standard. |
|  |  | 3.3 | Identify potential or actual impediments to performance of passive fire and smoke containment system according to regulatory and workplace requirements. |
|  |  | 3.4 | Record identified defects and non-compliances according to regulatory and workplace requirements. |
| 4 | Finalise service operation. | 4.1 | Complete service documentation and report outstanding defects, non-compliances and potential or actual impediments to performance according to Australian Standards, regulatory and workplace requirements. |
|  |  | 4.2 | Leave client premises in a clean and tidy condition. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPPFES2039A Identify, inspect and test passive fire and smoke containment products and systems.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b

Assessment Requirements for CPPFES2039 Identify, inspect and test passive fire and smoke containment products and systems

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 13.0. Supersedes and is equivalent to CPPFES2039A Identify, inspect and test passive fire and smoke containment products and systems. Unit updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by identifying, inspecting and testing passive fire and smoke containment products and systems installed to protect service penetrations and control joints in five different buildings.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

action to take when a breach of regulation, work health and safety (WHS) or other policy occurs when identifying, inspecting and testing passive fire and smoke containment products and systems

dangers of incorrect installation of passive fire and smoke containment products and systems

implications of not complying with regulatory requirements when inspecting and testing passive fire and smoke containment products and systems

key features of legislation, regulations, codes and Australian Standards relevant to identifying, inspecting and testing passive fire and smoke containment products and systems:

maintenance schedules

National Construction Code (NCC) and deemed-to-satisfy requirements

records and documentation

operational requirements for inspecting and testing passive fire and smoke containment products and systems

passive fire and smoke containment variables, including types, products and solutions

principles of passive fire protection related to overall fire safety systems

procedures for determining fire resistance levels

technical terms relating to inspecting and testing passive fire and smoke containment products and systems

types of damage, defects and modifications to fire and smoke stopping products and systems that may cause loss of fire resistance

types, purpose and key physical features of a range of passive fire and smoke containment products and systems:

access panels and hatches

ceiling and partition systems

control and expansion joints

duct and damper penetration protection

duct fireproofing and protection

fabric and timber protection, including impregnated or sprayed

fire-resistant mortars and grouts, including load bearing and non-load bearing

fire-resistant pillows, including intumescent and non-intumescent

fire stop collars, including cast in, retrofit and wall

fire-rated air transfer grilles

fire-rated sealants, caulks and putties, including acrylic, polyurethane and silicone

fire-resistant boards, including calcium silicate and vermiculite

industrial fire protection

intumescent dampers and seals

intumescent paints and coatings, other than those used for fireproofing structural steel

linear gaps seals, including impregnated foams, tapes, intumescent gaskets and sealants

materials into or onto which passive fire and smoke containment products are installed

mechanical and intumescent fire dampers

openings in structural elements

penetration solutions

protection against spread of flame

smoke dampers

structural steel fireproofing

unplasticised polyvinyl chloride (UPVC) and plumbing penetrations

workplace requirements for identifying, inspecting and testing passive fire and smoke containment products and systems:

maintenance of tools and equipment

WHS, including hazard and risk identification and control.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be conducted in the workplace or a simulated workplace using realistic conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to drawings, documentation and installed passive fire and smoke containment products and systems required to achieve the performance evidence.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b