# CPPFES2039 Identify, inspect and test passive fire and smoke containment products and systems

Release: 1

CPPFES2039 Identify, inspect and test passive fire and smoke containment products and systems

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 13.0. Supersedes and is equivalent to CPPFES2039A Identify, inspect and test passive fire and smoke containment products and systems. Unit updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Application

This unit of competency specifies the skills and knowledge required to identify, inspect and test passive fire and smoke containment products and systems installed at client premises. Service activities are conducted in compliance with requirements of the relevant Australian Standards and National Construction Code (NCC).

The unit does not cover installation, replacement, maintenance or repair functions that are restricted to licensed trades or occupations.

The unit is suitable for those with basic skills and knowledge undertaking routine work tasks under the direction of more experienced workers.

Licensing, legislative, regulatory or certification requirements apply to this unit of competency in some states and territories. For further information, check with the relevant regulatory authority.

# Pre-requisite Unit

Nil.

# Unit Sector

Fire Protection Inspection and Testing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Plan and prepare for service operation. | 1.1 | Read work instructions to clarify service timeframes, client needs, and site and passive fire and smoke containment product and system locations. |
|  |  | 1.2 | Discuss planned service procedures with relevant persons to clarify client needs and expectations. |
|  |  | 1.3 | Plan work activities to comply with relevant Australian Standards, NCC, regulatory, work health and safety (WHS) and workplace requirements. |
|  |  | 1.4 | Identify potential and actual breaches of rules and regulations associated with work instructions and take required action to ensure compliance according to regulatory and workplace requirements. |
|  |  | 1.5 | Select and use required personal protective equipment (PPE). |
|  |  | 1.6 | Arrange access to worksite and communicate with responsible entity and affected persons to advise duration and impact of planned service procedures and to ensure alternative safety arrangements are implemented. |
|  |  | 1.7 | Identify and prepare to control hazards in the work area according to workplace requirements. |
| 2 | Identify passive fire and smoke containment installations and systems. | 2.1 | Identify passive fire and smoke containment systems according to function, operation and location. |
|  |  | 2.2 | Identify and locate installed product components of passive fire and smoke containment installations and systems according to design, operation and function. |
| 3 | Inspect and test passive fire and smoke containment installations and systems. | 3.1 | Inspect passive fire and smoke containment system products according to the relevant maintenance schedule. |
|  |  | 3.2 | Check passive fire and smoke containment system products for marking and labelling against requirements of the relevant Australian Standard. |
|  |  | 3.3 | Identify potential or actual impediments to performance of passive fire and smoke containment system according to regulatory and workplace requirements. |
|  |  | 3.4 | Record identified defects and non-compliances according to regulatory and workplace requirements. |
| 4 | Finalise service operation. | 4.1 | Complete service documentation and report outstanding defects, non-compliances and potential or actual impediments to performance according to Australian Standards, regulatory and workplace requirements. |
|  |  | 4.2 | Leave client premises in a clean and tidy condition. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPPFES2039A Identify, inspect and test passive fire and smoke containment products and systems.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b