# Assessment Requirements for CPPFES2043 Apply regulations to prevent ozone depleting substance and synthetic greenhouse gas emissions

Release: 1

Assessment Requirements for CPPFES2043 Apply regulations to prevent ozone depleting substance and synthetic greenhouse gas emissions

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 13.0. Supersedes and is equivalent to CPPFES2043A Prevent ozone depleting substance and synthetic greenhouse gas emissions. Unit updated to meet the Standards for Training Packages 2012. Minor title change. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by applying regulations to prevent ozone depleting substance (ODS) and synthetic greenhouse gases (SGG) emissions, including:

reviewing two different sets of work instructions associated with ODS and SGG agent extinguishers or systems, or both, and documenting requirements for the extinguishing agent handling licence (EAHL) holder undertaking those duties

proposing two improvements to ODS and SGG work practices to reduce the risk of accidental emissions.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

actions to take when potential and actual breaches of regulations, work health and safety (WHS) or other policy are identified when applying regulations to prevent ODS and SGG emissions

compliance requirements of relevant regulations, licensing, agreements, protocols, fire protection industry codes of practice and Australian Standards associated with the use of ODS and SGG extinguishing agents:

environmental protection

EAHL types, associated responsibilities, usage permits and trading authorisations

ODS and SGG legal requirements for handling and trading in extinguishing agents in the fire protection industry

effects of:

ODS and SGG emissions on ozone layer depletion and climate change

ozone layer depletion and climate change on the environment and human health

implications of not applying ODS and SGG regulations to work practices

key factors involved in climate change

role and function of the ozone layer

workplace requirements for preventing ODS and SGG emissions:

use of ODS and SGG extinguishing agents

WHS.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be conducted in the workplace or a simulated workplace using realistic conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to technologies, work instructions, documentation and other information required to achieve the performance evidence.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b