# Assessment Requirements for CPPFES2048 Receive and dispatch scheduled gaseous fire-extinguishing agents

Release: 1

Assessment Requirements for CPPFES2048 Receive and dispatch scheduled gaseous fire-extinguishing agents

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 13.0. Supersedes and is equivalent to CPPFES2048A Receive and dispatch scheduled gaseous fire-extinguishing agents. Unit updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by receiving and dispatching scheduled gaseous fire-extinguishing agents on two separate occasions.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

action to take when a breach of regulation, work health and safety (WHS), ozone depleting substances (ODS) and synthetic greenhouse gases (SGG) or other policy occurs when receiving and dispatching scheduled gaseous fire-extinguishing agents

dangerous goods markings and requirements for securing and transporting scheduled gaseous fire-extinguishing agents

handling and storage requirements for scheduled ODS and SGG in accordance with the Fire Protection Industry (ODS &SGG) Board ODS & SGG Good Practice Guide

documentation used to receive, classify, move, store and dispatch ODS and SGG containers

key requirements of relevant regulations, Australian Standards and licensing associated with receiving and dispatching scheduled gaseous fire-extinguishing agents:

Australian Dangerous Goods (ADG) Code requirements for road transport of class 2.2 substances

compliance records

extinguishing agent handling licence (EAHL) requirements

environmental protection

state and territory dangerous goods legislation relevant to storage of class 2.2 substances

storage and handling of gases in cylinders

manual-handling techniques and aids to be used when receiving and dispatching ODS and SGG containers, and implications of:

ignoring safety precautions when using mechanical and manual-handling aids

using incorrect manual-lifting techniques

methods used to:

isolate condemned containers

label condemned containers

make safe containers

prevent ODS and SGG emissions in the workplace

principles and procedures related to receiving, classifying, moving, storing and dispatching stock

reasons for preventing ODS and SGG emissions in the workplace

types and purpose of tools and equipment used when receiving and dispatching scheduled gaseous fire-extinguishing agents:

manual-handling aids

personal protective equipment (PPE)

types of ODS and SGG containers, including materials stored in ODS and SGG containers

workplace requirements for receiving and dispatching scheduled gaseous fire-extinguishing agents:

documentation and reporting

WHS, including hazard and risk identification and control.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be conducted in the workplace or a simulated workplace using realistic conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to documentation, tools, equipment and containers required to achieve the performance evidence.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b