# Assessment Requirements for CPPFES2049 Conduct recovery, reclaim and fill operations for scheduled gaseous fire-extinguishing agents

Release: 1

Assessment Requirements for CPPFES2049 Conduct recovery, reclaim and fill operations for scheduled gaseous fire-extinguishing agents

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 13.0. Supersedes and is equivalent to CPPFES2049A Conduct recovery, reclaim and fill operations for scheduled gaseous fire-extinguishing agents. Unit updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by conducting recovery, reclaim and fill operations for scheduled gaseous fire-extinguishing agents on two different occasions.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

action to take when a breach of work health and safety (WHS), ozone depleting substances (ODS) and synthetic greenhouse gases (SGG) regulation or other policy occurs when conducting recovery, reclaim and fill operations for scheduled gaseous fire-extinguishing agents

documentation used during recovery, reclamation and fill processing of ODS and SGG containers

fill density requirements for different agents per unit of volume of container

implications of ignoring safety precautions used in recovery, reclamation and fill processing

key features of legislation, regulations, Australian Standards and licensing relevant to recovery, reclaim and fill operations for scheduled gaseous fire-extinguishing agents:

environmental protection, ODS and SGG emission requirements

extinguishing agent handling licence (EAHL) requirements

records and documentation

storing, recovering, recycling and charging scheduled ODS and SGG agents

manual-handling techniques and aids to move gaseous fire-extinguishing agent containers

maximum working pressure and water capacity of containers to determine container fill requirements

methods for:

leak detection testing

selecting correct valve and components to suit container and agent requirements

recovering and reclaiming ODS and SGG materials from containers

reasons and methods for preventing ODS and SGG emissions in the workplace

types of:

containers used for ODS and SGG materials

materials found in ODS and SGG containers

sealants suitable for different gaseous agents

transport caps, labels, numbers and codes used on containers containing ODS and SGG materials

types and purpose of tools and equipment used when recovering and reclaiming ODS and SGG extinguishing agents and filling containers:

leak detection devices

manual-handling aids

processing and pressurising equipment

personal protective equipment (PPE)

scales

workplace requirements for conducting recovery, reclaim and fill operations for scheduled gaseous fire-extinguishing agents:

maintenance of tools and equipment

WHS, including hazard and risk identification and control.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be conducted in the workplace or a simulated workplace using realistic conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to documentation, tools, equipment and containers required to achieve the performance evidence.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b